## Sheet1
Date | Time | Detector | Comments | Action | Run | CSD | Inj (A) | Extr (A) | Cent (A) | Sext (A) | Inj (T) | Extr (T) | Cent (T) | Sext (T) | Inj Pres (-7) | Oxygen % | Xenon % | Extr HV | Extr I | Puller HV | Puller I | Bias V | Bias I | 28 GHz | 18 GHz | Total Power | 28/18 Ratio | csd_name | O8+_beam_current | O8+_batman_current | O8+_mq | O7+_beam_current | O7+_batman_current | O7+_mq | O6+_beam_current | O6+_batman_current | O6+_mq | O5+_beam_current | O5+_batman_current | O5+_mq | O4+_beam_current | O4+_batman_current | O4+_mq | O3+_beam_current | O3+_batman_current | O3+_mq | O2+_beam_current | O2+_batman_current | O2+_mq | file | livetime | start_time | gain | gain_formula | fast_count | slow_count | raw_data_length | peak_energy_keV | fit_range_min_keV | fit_range_max_keV | fit_points | fit_r_squared | fit_mean_squared_error | fit_residual_std_error | fit_slope | fit_slope_error | alpha | alpha_error | fit_intercept_beta | fit_intercept_beta_error | spectral_temperature | spectral_temperature_error | spectral_temperature_error_type | plot_file | fit_status
2026-09-19 | 14:48 | CdTe | 28 GHz fields, tuned up big stable O6+ | preset time 300 seconds | 1 |  | 185 | 142 | 150 | 430 | 3.38 | 1.96 | 0.48 | 2.05 | 0.674 | 8.6 |  | 12.5 | 1.8 | 2.2 | 0.002 | 30 | 2.6 | 2494 | 988 | 3482 | 2.52 | [22 empty] | Run001.mca | 299.97 | 2026-09-19 14:42 | 10.0033 | 9.84 x 1.0166 | 13767 | 13766 | 1024 |  | 122.3505 | 216.1756 | 180 | 0.52855 | 0.073744 | 0.27308 | -0.010557 | 0.00074733 | 0.010557 | 0.00074733 | 0.5777 | 0.12812 | 94.7217 | 6.7052 | 1-sigma propagated from slope standard error | Run001_analysis.png | ok
2026-09-19 | 17:04 |  |  | B fields to match Janilee, preset time 600 seconds | 2 |  | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.703 | 9.4 |  | 12.5 | 1.75 | 2 | 0.028 | 24 | 1.94 | 2513 | 998 | 3511 | 2.52 | [22 empty] | Run002.mca | 599.46 | 2026-09-19 16:54 | 10.0033 | 9.84 x 1.0166 | 30202 | 30175 | 1024 |  | 131.2613 | 227.7071 | 185 | 0.82131 | 0.030836 | 0.17656 | -0.013449 | 0.00046373 | 0.013449 | 0.00046373 | 1.1459 | 0.084238 | 74.3551 | 2.5638 | 1-sigma propagated from slope standard error | Run002_analysis.png | ok
2026-09-19 | 17:13 |  | total power 640 W |  | 3 | 17:23 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.594 | 10.5 |  | 12.5 | 1.661 | 2 | 0.02 | 27 | 1.19 | 59 | 587 | 646 | 0.1 | csd_1789863796 | 5.136e-05 | 53.109 | 2.0735 | 0.00019672 | 57.542 | 2.4105 | 4.0347e-06 | 58.894 | 2.5441 | 3.1617e-06 | 66.008 | 3.0252 | 4.0398e-06 | 76.528 | 4.3514 | 0.00014785 | 81.959 | 4.9963 | 0.0001263 | 100.707 | 7.6272 | Run003.mca | 599.1 | 2026-09-19 17:13 | 10.0033 | 9.84 x 1.0166 | 4032 | 4026 | 1024 |  | 128.1163 | 187.3466 | 114 | 0.23664 | 0.15237 | 0.39382 | -0.0126 | 0.0021383 | 0.0126 | 0.0021383 | -1.1378 | 0.3393 | 79.3658 | 13.4693 | 1-sigma propagated from slope standard error | Run003_analysis.png | ok
2026-09-19 | 17:26 |  |  |  | 4 | 17:37 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.563 | 10.5 |  | 12.5 | 2.04 | 2 | 0.02 | 32 | 1.75 | 105 | 539 | 644 | 0.19 | csd_1789864638 | 5.5555e-05 | 53.11 | 2.0736 | 0.00022764 | 57.463 | 2.4027 | 1.4099e-06 | 60.98 | 2.7194 | 4.3038e-06 | 66.08 | 3.0296 | 5.0586e-06 | 76.53 | 4.3517 | 0.00017298 | 81.905 | 4.9898 | 0.00011686 | 100.71 | 7.6277 | Run004.mca | 599.88 | 2026-09-19 17:26 | 10.0033 | 9.84 x 1.0166 | 4522 | 4521 | 1024 |  | 128.6405 | 192.0641 | 122 | 0.23577 | 0.21129 | 0.46348 | -0.013831 | 0.0022732 | 0.013831 | 0.0022732 | -0.8054 | 0.36692 | 72.3015 | 11.883 | 1-sigma propagated from slope standard error | Run004_analysis.png | ok
2026-09-19 | 17:39 |  |  |  | 5 | 17:52 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.55 | 10.5 |  | 12.5 | 1.87 | 2 | 0.021 | 32 | 1.78 | 213 | 432 | 645 | 0.49 | csd_1789865541 | 3.9704e-05 | 53.112 | 2.0737 | 0.00020534 | 57.465 | 2.4029 | 1.3092e-06 | 60.982 | 2.7195 | 4.6409e-06 | 66.011 | 3.0254 | 5.4658e-06 | 76.531 | 4.3518 | 1.0463e-06 | 86.95 | 5.6442 | 0.00011903 | 100.666 | 7.6213 | Run005.mca | 599.16 | 2026-09-19 17:40 | 10.0033 | 9.84 x 1.0166 | 4877 | 4870 | 1024 |  | 133.358 | 211.4581 | 149 | 0.37049 | 0.17343 | 0.41927 | -0.014036 | 0.001509 | 0.014036 | 0.001509 | -0.64018 | 0.26234 | 71.2451 | 7.6597 | 1-sigma propagated from slope standard error | Run005_analysis.png | ok
2026-09-19 | 17:54 |  |  |  | 6 | 18:07 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.556 | 10.5 |  | 12.5 | 1.821 | 2 | 0.029 | 32 | 1.78 | 274 | 369 | 643 | 0.74 | csd_1789866400 | 3.407e-05 | 53.112 | 2.0737 | 0.00018176 | 57.465 | 2.4029 | 4.9465e-06 | 58.897 | 2.5444 | 4.5613e-06 | 66.011 | 3.0254 | 5.4103e-06 | 76.531 | 4.3518 | 0.00018204 | 81.907 | 4.9901 | 0.00012345 | 100.62 | 7.6147 | Run006.mca | 599.64 | 2026-09-19 17:54 | 10.0033 | 9.84 x 1.0166 | 4971 | 4968 | 1024 |  | 138.5996 | 214.6031 | 146 | 0.36503 | 0.22699 | 0.47973 | -0.016352 | 0.0017972 | 0.016352 | 0.0017972 | -0.23557 | 0.31987 | 61.1541 | 6.7213 | 1-sigma propagated from slope standard error | Run006_analysis.png | ok
2026-09-19 | 18:08 |  |  |  | 7 | 18:19 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.543 | 11 |  | 12.5 | 1.9 | 2 | 0.028 | 38 | 2.06 | 317 | 322 | 639 | 0.98 | csd_1789867140 | 3.9114e-05 | 53.109 | 2.0735 | 0.0001852 | 57.381 | 2.3946 | 5.0668e-06 | 58.815 | 2.5363 | 4.5656e-06 | 66.008 | 3.0252 | 5.4632e-06 | 76.528 | 4.3514 | 1.0559e-06 | 86.999 | 5.6513 | 0.00011816 | 100.661 | 7.6206 | Run007.mca | 599.88 | 2026-09-19 18:09 | 10.0033 | 9.84 x 1.0166 | 5082 | 5081 | 1024 |  | 122.3505 | 213.5548 | 172 | 0.38942 | 0.20177 | 0.45183 | -0.013522 | 0.0012986 | 0.013522 | 0.0012986 | -0.73835 | 0.22035 | 73.9541 | 7.1023 | 1-sigma propagated from slope standard error | Run007_analysis.png | ok
2026-09-19 | 18:21 |  |  |  | 8 | 18:31 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.58 | 11 |  | 12.5 | 1.786 | 2 | 0.031 | 38 | 1.85 | 422 | 216 | 638 | 1.95 | csd_1789867869 | 4.1806e-05 | 53.11 | 2.0736 | 0.00017723 | 57.463 | 2.4027 | 4.1114e-06 | 58.895 | 2.5442 | 4.119e-06 | 66.009 | 3.0253 | 4.9329e-06 | 76.469 | 4.3444 | 0.00017397 | 81.905 | 4.9898 | 0.00012027 | 100.664 | 7.621 | Run008.mca | 598.56 | 2026-09-19 18:21 | 10.0033 | 9.84 x 1.0166 | 5327 | 5314 | 1024 |  | 121.3022 | 215.1272 | 180 | 0.4758 | 0.16312 | 0.40614 | -0.014128 | 0.0011115 | 0.014128 | 0.0011115 | -0.54462 | 0.1894 | 70.7833 | 5.5688 | 1-sigma propagated from slope standard error | Run008_analysis.png | ok
2026-09-19 | 18:32 |  |  |  | 9 | 18:43 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.595 | 11 |  | 12.5 | 1.774 | 2 | 0.024 | 38 | 1.9 | 530 | 107 | 637 | 4.95 | csd_1789868597 | 4.8322e-05 | 53.11 | 2.0736 | 0.00019478 | 57.383 | 2.3948 | 4.1544e-06 | 58.895 | 2.5442 | 3.6857e-06 | 66.009 | 3.0253 | 4.7181e-06 | 76.53 | 4.3517 | 0.0001733 | 81.848 | 4.9831 | 0.00012115 | 100.664 | 7.621 | Run009.mca | 599.76 | 2026-09-19 18:33 | 10.0033 | 9.84 x 1.0166 | 5070 | 5068 | 1024 |  | 127.5922 | 215.1272 | 166 | 0.38625 | 0.19209 | 0.44095 | -0.013768 | 0.0013552 | 0.013768 | 0.0013552 | -0.6907 | 0.23415 | 72.6313 | 7.1493 | 1-sigma propagated from slope standard error | Run009_analysis.png | ok
2026-09-19 | 18:46 |  |  |  | 10 | 18:56 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.616 | 11 |  | 12.5 | 1.78 | 2 | 0.03 | 38 | 1.91 | 593 | 49 | 642 | 12.1 | csd_1789869352 | 5.3199e-05 | 53.113 | 2.0738 | 0.00019659 | 57.386 | 2.3951 | 3.9642e-06 | 58.898 | 2.5445 | 3.5423e-06 | 66.013 | 3.0255 | 4.5039e-06 | 76.473 | 4.3449 | 0.00016493 | 81.909 | 4.9903 | 0.00012066 | 100.669 | 7.6218 | Run010.mca | 598.68 | 2026-09-19 18:46 | 10.0033 | 9.84 x 1.0166 | 5056 | 5045 | 1024 |  | 131.7855 | 212.5064 | 154 | 0.33814 | 0.18254 | 0.43005 | -0.013043 | 0.0014801 | 0.013043 | 0.0014801 | -0.78772 | 0.25687 | 76.6672 | 8.7 | 1-sigma propagated from slope standard error | Run010_analysis.png | ok
2026-09-19 | 19:00 |  | total power 1150 W |  | 11 | 19:11 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.553 | 11 |  | 12.5 | 2.29 | 2 | 0.024 | 38 | 2.85 | 104 | 1030 | 1134 | 0.1 | csd_1789870244 | 0.00011126 | 53.112 | 2.0737 | 0.00026765 | 57.465 | 2.4029 | 1.5203e-06 | 60.982 | 2.7195 | 5.1828e-06 | 66.081 | 3.0296 | 5.7635e-06 | 76.592 | 4.359 | 0.00017266 | 81.963 | 4.9967 | 0.00010203 | 100.62 | 7.6147 | Run011.mca | 598.86 | 2026-09-19 19:00 | 10.0033 | 9.84 x 1.0166 | 7526 | 7512 | 1024 |  | 123.3989 | 215.6514 | 177 | 0.45811 | 0.1473 | 0.38598 | -0.013176 | 0.0010833 | 0.013176 | 0.0010833 | -0.38008 | 0.18592 | 75.8951 | 6.2398 | 1-sigma propagated from slope standard error | Run011_analysis.png | ok
2026-09-19 | 19:13 |  |  |  | 12 | 19:23 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.558 | 11 |  | 12.5 | 2.334 | 2 | 0.03 | 37 | 2.6 | 185 | 969 | 1154 | 0.19 | csd_1789871009 | 0.00011072 | 53.106 | 2.0733 | 0.00026676 | 57.459 | 2.4023 | 1.6793e-06 | 60.975 | 2.7191 | 5.2748e-06 | 66.074 | 3.0292 | 6.0853e-06 | 76.584 | 4.3581 | 0.00017232 | 82.011 | 5.0024 | 0.00010082 | 100.656 | 7.6199 | Run012.mca | 599.46 | 2026-09-19 19:13 | 10.0033 | 9.84 x 1.0166 | 8241 | 8234 | 1024 |  | 122.3505 | 205.6923 | 160 | 0.54584 | 0.085052 | 0.29348 | -0.013206 | 0.00095836 | 0.013206 | 0.00095836 | -0.27854 | 0.15889 | 75.7209 | 5.4949 | 1-sigma propagated from slope standard error | Run012_analysis.png | ok
2026-09-19 | 19:27 |  |  |  | 13 | 19:38 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.54 | 11 |  | 12.5 | 2.219 | 2 | 0.028 | 37 | 2.53 | 381 | 779 | 1160 | 0.49 | csd_1789871876 | 8.7166e-05 | 53.114 | 2.0738 | 0.00024857 | 57.468 | 2.4032 | 1.8542e-06 | 60.985 | 2.7197 | 5.227e-06 | 66.014 | 3.0256 | 6.3827e-06 | 76.596 | 4.3595 | 0.00018355 | 81.967 | 4.9972 | 0.00010298 | 100.579 | 7.6088 | Run013.mca | 599.46 | 2026-09-19 19:27 | 10.0033 | 9.84 x 1.0166 | 9186 | 9178 | 1024 |  | 125.4955 | 208.8373 | 160 | 0.54124 | 0.074899 | 0.2754 | -0.012279 | 0.00089934 | 0.012279 | 0.00089934 | -0.27464 | 0.15191 | 81.4425 | 5.9652 | 1-sigma propagated from slope standard error | Run013_analysis.png | ok
2026-09-19 | 19:40 |  |  |  | 14 | 19:50 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.534 | 11 |  | 12.5 | 2.143 | 2 | 0.031 | 37 | 2.47 | 491 | 665 | 1156 | 0.74 | csd_1789872609 | 7.7806e-05 | 53.109 | 2.0735 | 0.00023248 | 57.462 | 2.4026 | 1.7617e-06 | 60.978 | 2.7193 | 5.1078e-06 | 66.008 | 3.0252 | 6.3734e-06 | 76.588 | 4.3586 | 0.00018916 | 81.959 | 4.9963 | 0.00010557 | 100.615 | 7.614 | Run014.mca | 599.16 | 2026-09-19 19:40 | 10.0033 | 9.84 x 1.0166 | 9778 | 9764 | 1024 |  | 136.5029 | 212.5064 | 146 | 0.49886 | 0.10404 | 0.32478 | -0.014568 | 0.0012167 | 0.014568 | 0.0012167 | 0.18004 | 0.21402 | 68.6448 | 5.7334 | 1-sigma propagated from slope standard error | Run014_analysis.png | ok
2026-09-19 | 19:54 |  |  |  | 15 | 20:04 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.586 | 11 |  | 12.5 | 1.87 | 2 | 0.042 | 34 | 2.38 | 584 | 583 | 1167 | 1 | csd_1789873426 | 4.1728e-05 | 53.023 | 2.0677 | 0.00019626 | 57.383 | 2.3948 | 1.6343e-06 | 60.98 | 2.7194 | 4.6992e-06 | 66.009 | 3.0253 | 5.5824e-06 | 76.53 | 4.3517 | 1.1128e-06 | 87.001 | 5.6516 | 3.7393e-06 | 101.988 | 7.8119 | Run015.mca | 599.16 | 2026-09-19 19:54 | 10.0033 | 9.84 x 1.0166 | 10110 | 10096 | 1024 |  | 121.3022 | 222.9897 | 195 | 0.57912 | 0.10849 | 0.33109 | -0.013095 | 0.00080356 | 0.013095 | 0.00080356 | -0.10085 | 0.14035 | 76.366 | 4.6862 | 1-sigma propagated from slope standard error | Run015_analysis.png | ok
2026-09-19 | 20:07 |  |  |  | 16 | 20:17 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.591 | 11 |  | 12.5 | 1.81 | 2 | 0.005 | 33 | 2.57 | 764 | 387 | 1151 | 1.97 | csd_1789874208 | 5.3109e-05 | 53.112 | 2.0737 | 0.0002095 | 57.384 | 2.3949 | 4.7974e-06 | 58.897 | 2.5444 | 4.35e-06 | 65.941 | 3.0211 | 5.2315e-06 | 76.531 | 4.3518 | 1.0406e-06 | 86.95 | 5.6442 | 0.00012484 | 100.62 | 7.6147 | Run016.mca | 599.04 | 2026-09-19 20:07 | 10.0033 | 9.84 x 1.0166 | 10186 | 10170 | 1024 |  | 123.3989 | 218.7964 | 183 | 0.53151 | 0.087065 | 0.29669 | -0.01135 | 0.00079207 | 0.01135 | 0.00079207 | -0.34784 | 0.13728 | 88.1033 | 6.1482 | 1-sigma propagated from slope standard error | Run016_analysis.png | ok
2026-09-19 | 20:19 |  |  |  | 17 | 20:31 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.591 | 11 |  | 12.5 | 1.874 | 2 | 0.018 | 33 | 2.5 | 962 | 187 | 1149 | 5.14 | csd_1789875084 | 8.2304e-05 | 53.11 | 2.0736 | 0.00023434 | 57.383 | 2.3948 | 4.7536e-06 | 58.895 | 2.5442 | 4.3265e-06 | 66.009 | 3.0253 | 4.7465e-06 | 76.53 | 4.3517 | 0.00016038 | 81.961 | 4.9965 | 0.00011478 | 100.618 | 7.6144 | Run017.mca | 598.92 | 2026-09-19 20:19 | 10.0033 | 9.84 x 1.0166 | 9844 | 9826 | 1024 |  | 124.4472 | 231.9004 | 206 | 0.62347 | 0.12928 | 0.36131 | -0.014844 | 0.00080763 | 0.014844 | 0.00080763 | 0.1595 | 0.14608 | 67.3695 | 3.6655 | 1-sigma propagated from slope standard error | Run017_analysis.png | ok
2026-09-19 | 20:35 |  |  |  | 18 | 20:45 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.6 | 11 |  | 12.5 | 1.903 | 2 | 0.012 | 33 | 2.5 | 1025 | 129 | 1154 | 7.95 | csd_1789875889 | 8.6622e-05 | 53.11 | 2.0736 | 0.00022814 | 57.383 | 2.3948 | 4.7077e-06 | 58.895 | 2.5442 | 4.0574e-06 | 66.009 | 3.0253 | 4.7026e-06 | 76.53 | 4.3517 | 0.00015822 | 81.905 | 4.9898 | 5.3344e-05 | 101.077 | 7.6806 | Run018.mca | 599.22 | 2026-09-19 20:34 | 10.0033 | 9.84 x 1.0166 | 9759 | 9746 | 1024 |  | 121.3022 | 228.7555 | 206 | 0.58437 | 0.12968 | 0.36187 | -0.013699 | 0.00080887 | 0.013699 | 0.00080887 | -0.029944 | 0.1438 | 72.9988 | 4.3103 | 1-sigma propagated from slope standard error | Run018_analysis.png | ok
2026-09-19 | 20:47 |  |  |  | 19 | 20:59 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.616 | 11 |  | 12.5 | 1.823 | 2 | 0.016 | 28 | 2.29 | 1078 | 81 | 1159 | 13.31 | csd_1789876725 | 9.3625e-05 | 53.113 | 2.0738 | 0.00023916 | 57.386 | 2.3951 | 4.4434e-06 | 58.898 | 2.5445 | 3.735e-06 | 66.013 | 3.0255 | 4.2968e-06 | 76.533 | 4.352 | 0.00015367 | 81.909 | 4.9903 | 0.0001157 | 100.623 | 7.6151 | Run019.mca | 599.1 | 2026-09-19 20:47 | 10.0033 | 9.84 x 1.0166 | 9308 | 9294 | 1024 |  | 124.4472 | 216.1756 | 176 | 0.5213 | 0.12452 | 0.3549 | -0.013828 | 0.0010045 | 0.013828 | 0.0010045 | -0.051116 | 0.17316 | 72.3184 | 5.2537 | 1-sigma propagated from slope standard error | Run019_analysis.png | ok
2026-09-19 | 21:00 |  |  |  | 20 | 21:10 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.651 | 11 |  | 12.5 | 1.849 | 2 | 0.017 | 28 | 2.38 | 1100 | 55 | 1155 | 20 | csd_1789877421 | 9.3821e-05 | 53.112 | 2.0737 | 0.00024365 | 57.384 | 2.3949 | 4.603e-06 | 58.897 | 2.5444 | 3.8259e-06 | 66.011 | 3.0254 | 4.2337e-06 | 76.531 | 4.3518 | 0.00015653 | 81.907 | 4.9901 | 0.00011609 | 100.712 | 7.628 | Run020.mca | 598.92 | 2026-09-19 21:00 | 10.0033 | 9.84 x 1.0166 | 8903 | 8887 | 1024 |  | 126.5438 | 219.3205 | 178 | 0.48212 | 0.15249 | 0.39271 | -0.013989 | 0.0010929 | 0.013989 | 0.0010929 | -0.056565 | 0.19127 | 71.4833 | 5.5845 | 1-sigma propagated from slope standard error | Run020_analysis.png | ok
2026-09-19 | 21:14 |  | total power 1350 W |  | 21 | 21:24 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.601 | 11 |  | 12.5 | 2.15 | 2 | 0.019 | 34 | 2.66 | 123 | 1211 | 1334 | 0.1 | csd_1789878220 | 0.0001201 | 53.11 | 2.0736 | 0.00027783 | 57.463 | 2.4027 | 1.8497e-06 | 61.056 | 2.724 | 5.0431e-06 | 66.08 | 3.0296 | 5.8225e-06 | 76.59 | 4.3588 | 0.00017954 | 81.961 | 4.9965 | 0.00011328 | 100.664 | 7.621 | Run021.mca | 599.22 | 2026-09-19 21:14 | 10.0033 | 9.84 x 1.0166 | 9135 | 9123 | 1024 |  | 123.3989 | 216.6997 | 179 | 0.5097 | 0.16055 | 0.40295 | -0.015084 | 0.001112 | 0.015084 | 0.001112 | 0.083507 | 0.19148 | 66.2953 | 4.8873 | 1-sigma propagated from slope standard error | Run021_analysis.png | ok
2026-09-19 | 21:25 |  |  |  | 22 | 21:36 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.6 | 11 |  | 12.5 | 2.44 | 2 | 0.016 | 37 | 2.85 | 223 | 1142 | 1365 | 0.2 | csd_1789878946 | 0.00010731 | 53.11 | 2.0736 | 0.00026614 | 57.463 | 2.4027 | 2.2731e-06 | 60.98 | 2.7194 | 5.4223e-06 | 66.009 | 3.0253 | 6.3644e-06 | 76.59 | 4.3588 | 0.00019088 | 82.017 | 5.0031 | 0.00011057 | 100.618 | 7.6144 | Run022.mca | 598.8 | 2026-09-19 21:25 | 10.0033 | 9.84 x 1.0166 | 10104 | 10084 | 1024 |  | 127.068 | 231.9004 | 201 | 0.57223 | 0.12423 | 0.35423 | -0.013404 | 0.00082152 | 0.013404 | 0.00082152 | -0.019036 | 0.14955 | 74.6063 | 4.5726 | 1-sigma propagated from slope standard error | Run022_analysis.png | ok
2026-09-19 | 21:38 |  |  |  | 23 | 21:49 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.677 | 11 |  | 12.5 | 2.15 | 2 | 0.018 | 29 | 2.03 | 452 | 911 | 1363 | 0.5 | csd_1789879715 | 6.3039e-05 | 53.11 | 2.0736 | 0.00022799 | 57.463 | 2.4027 | 2.7514e-06 | 60.98 | 2.7194 | 5.233e-06 | 66.009 | 3.0253 | 3.1592e-06 | 71.657 | 3.6738 | 1.3734e-06 | 87.001 | 5.6516 | 2.9945e-06 | 102.486 | 7.8837 | Run023.mca | 599.4 | 2026-09-19 21:38 | 10.0033 | 9.84 x 1.0166 | 11237 | 11226 | 1024 |  | 122.3505 | 225.6105 | 198 | 0.58138 | 0.094901 | 0.30963 | -0.012118 | 0.00073447 | 0.012118 | 0.00073447 | -0.11814 | 0.12966 | 82.5243 | 5.0019 | 1-sigma propagated from slope standard error | Run023_analysis.png | ok
2026-09-19 | 21:51 |  |  |  | 24 | 22:02 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.691 | 11 |  | 12.5 | 2.06 | 2 | 0.018 | 29 | 2.06 | 577 | 778 | 1355 | 0.74 | csd_1789880522 | 5.3107e-05 | 53.112 | 2.0737 | 0.00022128 | 57.384 | 2.3949 | 2.3472e-06 | 60.906 | 2.7149 | 5.0547e-06 | 66.011 | 3.0254 | 5.4486e-06 | 76.471 | 4.3447 | 1.2384e-06 | 87.003 | 5.6519 | 0.00011415 | 100.574 | 7.6081 | Run024.mca | 598.92 | 2026-09-19 21:51 | 10.0033 | 9.84 x 1.0166 | 11678 | 11657 | 1024 |  | 126.5438 | 217.2239 | 174 | 0.57562 | 0.088694 | 0.29954 | -0.013174 | 0.00086251 | 0.013174 | 0.00086251 | 0.10343 | 0.14998 | 75.906 | 4.9696 | 1-sigma propagated from slope standard error | Run024_analysis.png | ok
2026-09-19 | 22:04 |  |  |  | 25 | 22:14 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.674 | 11 |  | 12.5 | 2.112 | 2 | 0.02 | 34 | 2.6 | 670 | 677 | 1347 | 0.99 | csd_1789881270 | 5.7454e-05 | 53.112 | 2.0737 | 0.0002188 | 57.384 | 2.3949 | 1.9977e-06 | 60.982 | 2.7195 | 4.8996e-06 | 66.011 | 3.0254 | 5.4362e-06 | 76.531 | 4.3518 | 1.1943e-06 | 87.056 | 5.6595 | 1.871e-06 | 102.714 | 7.9165 | Run025.mca | 598.98 | 2026-09-19 22:04 | 10.0033 | 9.84 x 1.0166 | 11886 | 11866 | 1024 |  | 124.9714 | 219.8447 | 182 | 0.58307 | 0.08799 | 0.29827 | -0.012738 | 0.00080286 | 0.012738 | 0.00080286 | 0.044259 | 0.14017 | 78.5044 | 4.948 | 1-sigma propagated from slope standard error | Run025_analysis.png | ok
2026-09-19 | 22:19 |  |  |  | 26 | 22:31 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.658 | 11 |  | 12.5 | 2.11 | 2 | 0.028 | 37 | 2.9 | 903 | 452 | 1355 | 2 | csd_1789882267 | 6.3892e-05 | 53.112 | 2.0737 | 0.00023881 | 57.384 | 2.3949 | 1.5429e-06 | 60.906 | 2.7149 | 4.7717e-06 | 66.011 | 3.0254 | 5.3573e-06 | 76.531 | 4.3518 | 1.0842e-06 | 86.95 | 5.6442 | 6.1556e-06 | 101.991 | 7.8123 | Run026.mca | 599.34 | 2026-09-19 22:19 | 10.0033 | 9.84 x 1.0166 | 12223 | 12210 | 1024 |  | 124.4472 | 225.0863 | 193 | 0.66157 | 0.087039 | 0.29656 | -0.014125 | 0.00073099 | 0.014125 | 0.00073099 | 0.2988 | 0.12952 | 70.7965 | 3.6638 | 1-sigma propagated from slope standard error | Run026_analysis.png | ok
2026-09-19 | 22:34 |  |  |  | 27 | 22:44 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.651 | 11 |  | 12.5 | 1.95 | 2 | 0.025 | 33 | 3.03 | 1125 | 224 | 1349 | 5.02 | csd_1789883052 | 8.9952e-05 | 53.112 | 2.0737 | 0.00025392 | 57.384 | 2.3949 | 4.6517e-06 | 58.897 | 2.5444 | 4.2521e-06 | 66.011 | 3.0254 | 4.7222e-06 | 76.531 | 4.3518 | 0.00017188 | 81.907 | 4.9901 | 0.00011436 | 100.574 | 7.6081 | Run027.mca | 598.98 | 2026-09-19 22:34 | 10.0033 | 9.84 x 1.0166 | 11762 | 11742 | 1024 |  | 131.7855 | 231.3763 | 191 | 0.63893 | 0.12645 | 0.35747 | -0.016367 | 0.00089499 | 0.016367 | 0.00089499 | 0.6555 | 0.16456 | 61.0975 | 3.3409 | 1-sigma propagated from slope standard error | Run027_analysis.png | ok
2026-09-19 | 22:46 |  |  |  | 28 | 22:57 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.666 | 11 |  | 12.5 | 2 | 2 | 0.02 | 33 | 2.88 | 1210 | 150 | 1360 | 8.07 | csd_1789883809 | 0.00010022 | 53.11 | 2.0736 | 0.00026179 | 57.383 | 2.3948 | 4.7038e-06 | 58.895 | 2.5442 | 4.1947e-06 | 66.009 | 3.0253 | 4.6141e-06 | 76.53 | 4.3517 | 0.00016793 | 81.905 | 4.9898 | 0.00011237 | 100.572 | 7.6078 | Run028.mca | 599.22 | 2026-09-19 22:46 | 10.0033 | 9.84 x 1.0166 | 11032 | 11018 | 1024 |  | 126.5438 | 225.6105 | 190 | 0.60017 | 0.097147 | 0.31334 | -0.013283 | 0.0007907 | 0.013283 | 0.0007907 | 0.062477 | 0.14107 | 75.2846 | 4.4815 | 1-sigma propagated from slope standard error | Run028_analysis.png | ok
2026-09-19 | 22:58 |  |  |  | 29 | 23:09 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.657 | 11 |  | 12.5 | 1.983 | 2 | 0.011 | 33 | 2.82 | 1259 | 90 | 1349 | 13.99 | csd_1789884536 | 0.000104 | 53.114 | 2.0738 | 0.00026259 | 57.387 | 2.3952 | 4.6976e-06 | 58.9 | 2.5447 | 4.1429e-06 | 66.014 | 3.0256 | 4.5371e-06 | 76.535 | 4.3523 | 0.00016257 | 81.911 | 4.9906 | 0.00011152 | 100.579 | 7.6088 | Run029.mca | 599.28 | 2026-09-19 22:58 | 10.0033 | 9.84 x 1.0166 | 10883 | 10870 | 1024 |  | 123.3989 | 228.7555 | 202 | 0.61561 | 0.1386 | 0.37415 | -0.015414 | 0.00086128 | 0.015414 | 0.00086128 | 0.36488 | 0.15392 | 64.8741 | 3.6248 | 1-sigma propagated from slope standard error | Run029_analysis.png | ok
2026-09-19 | 23:10 |  |  |  | 30 | 23:20 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.656 | 11 |  | 12.5 | 1.993 | 2 | 0.02 | 33 | 2.78 | 1274 | 65 | 1339 | 19.6 | csd_1789885209 | 0.00010241 | 53.112 | 2.0737 | 0.00026117 | 57.384 | 2.3949 | 4.6993e-06 | 58.897 | 2.5444 | 4.0405e-06 | 66.011 | 3.0254 | 4.4715e-06 | 76.531 | 4.3518 | 0.00016244 | 81.907 | 4.9901 | 0.00011281 | 100.62 | 7.6147 | Run030.mca | 599.88 | 2026-09-19 23:10 | 10.0033 | 9.84 x 1.0166 | 10384 | 10382 | 1024 |  | 121.8264 | 215.1272 | 179 | 0.60299 | 0.071897 | 0.26965 | -0.012201 | 0.00074413 | 0.012201 | 0.00074413 | -0.19365 | 0.12698 | 81.9618 | 4.9989 | 1-sigma propagated from slope standard error | Run030_analysis.png | ok
2026-09-19 | 23:23 |  | total power 1850 W |  | 31 | 23:39 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.676 | 11 |  | 12.5 | 2.1 | 2 | 0.018 | 30 | 2.63 | 171 | 1661 | 1832 | 0.1 | csd_1789886313 | 0.00011699 | 53.11 | 2.0736 | 0.00029343 | 57.463 | 2.4027 | 2.6922e-06 | 61.132 | 2.7286 | 5.0684e-06 | 66.15 | 3.0338 | 5.6095e-06 | 76.59 | 4.3588 | 1.065e-06 | 87.054 | 5.6592 | 1.6545e-05 | 101.579 | 7.7529 | Run031.mca | 599.04 | 2026-09-19 23:23 | 10.0033 | 9.84 x 1.0166 | 12502 | 12482 | 1024 |  | 124.9714 | 219.3205 | 181 | 0.68384 | 0.062727 | 0.25185 | -0.013449 | 0.00068353 | 0.013449 | 0.00068353 | 0.21557 | 0.11915 | 74.3524 | 3.7787 | 1-sigma propagated from slope standard error | Run031_analysis.png | ok
2026-09-19 | 23:40 |  |  |  | 32 | 23:54 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.72 | 11 |  | 12.5 | 2.15 | 2 | 0.014 | 27 | 1.97 | 308 | 1565 | 1873 | 0.2 | csd_1789887232 | 8.0428e-05 | 53.113 | 2.0738 | 0.00024147 | 57.466 | 2.403 | 2.9716e-06 | 60.983 | 2.7196 | 4.8584e-06 | 66.083 | 3.0298 | 5.2713e-06 | 76.533 | 4.352 | 1.2271e-06 | 87.059 | 5.6599 | 0.00011183 | 100.669 | 7.6218 | Run032.mca | 599.34 | 2026-09-19 23:40 | 10.0033 | 9.84 x 1.0166 | 14050 | 14035 | 1024 |  | 118.6814 | 217.2239 | 189 | 0.62576 | 0.080297 | 0.28488 | -0.012813 | 0.0007246 | 0.012813 | 0.0007246 | 0.19143 | 0.12345 | 78.0454 | 4.4136 | 1-sigma propagated from slope standard error | Run032_analysis.png | ok
2026-09-19 | 23:59 |  |  |  | 33 | 0:10 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.716 | 11 |  | 12.5 | 1.96 | 2 | 0.016 | 27 | 1.91 | 611 | 1250 | 1861 | 0.49 | csd_1789888218 | 6.6242e-05 | 53.113 | 2.0738 | 0.00021888 | 57.466 | 2.403 | 2.9107e-06 | 60.907 | 2.7149 | 4.5238e-06 | 66.083 | 3.0298 | 5.1855e-06 | 76.533 | 4.352 | 1.3095e-06 | 87.006 | 5.6523 | 0.00012063 | 100.715 | 7.6284 | Run033.mca | 599.34 | 2026-09-19 23:58 | 10.0033 | 9.84 x 1.0166 | 15303 | 15286 | 1024 |  | 121.3022 | 210.4098 | 171 | 0.64703 | 0.050265 | 0.22552 | -0.011732 | 0.00066654 | 0.011732 | 0.00066654 | 0.12367 | 0.11189 | 85.2385 | 4.8428 | 1-sigma propagated from slope standard error | Run033_analysis.png | ok
2026-09-20 | 0:12 |  |  |  | 34 | 0:24 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.648 | 11 |  | 12.5 | 2.2 | 2 | 0.019 | 35 | 2.94 | 789 | 1075 | 1864 | 0.73 | csd_1789889059 | 7.0696e-05 | 53.024 | 2.0678 | 0.000245 | 57.384 | 2.3949 | 2.5609e-06 | 60.982 | 2.7195 | 5.2314e-06 | 66.011 | 3.0254 | 5.927e-06 | 76.531 | 4.3518 | 1.1536e-06 | 87.003 | 5.6519 | 0.00010098 | 100.62 | 7.6147 | Run034.mca | 599.76 | 2026-09-20 00:12 | 10.0033 | 9.84 x 1.0166 | 16193 | 16187 | 1024 |  | 120.2539 | 227.183 | 205 | 0.67599 | 0.062476 | 0.25118 | -0.011639 | 0.00056557 | 0.011639 | 0.00056557 | 0.1795 | 0.099804 | 85.9169 | 4.1749 | 1-sigma propagated from slope standard error | Run034_analysis.png | ok
2026-09-20 | 0:26 |  |  |  | 35 | 0:37 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.636 | 11 |  | 12.5 | 2.1 | 2 | 0.014 | 35 | 3.03 | 923 | 937 | 1860 | 0.99 | csd_1789889826 | 6.8017e-05 | 53.026 | 2.0679 | 0.00024096 | 57.386 | 2.3951 | 2.5114e-06 | 60.907 | 2.7149 | 5.2387e-06 | 66.013 | 3.0255 | 5.79e-06 | 76.533 | 4.352 | 1.2254e-06 | 87.006 | 5.6523 | 0.00010676 | 100.531 | 7.6019 | Run035.mca | 599.22 | 2026-09-20 00:26 | 10.0033 | 9.84 x 1.0166 | 16619 | 16598 | 1024 |  | 125.4955 | 238.1904 | 216 | 0.69598 | 0.075106 | 0.27533 | -0.012687 | 0.0005732 | 0.012687 | 0.0005732 | 0.39353 | 0.1059 | 78.8203 | 3.5611 | 1-sigma propagated from slope standard error | Run035_analysis.png | ok
2026-09-20 | 0:39 |  |  |  | 36 | 0:50 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.651 | 11 |  | 12.5 | 2.2 | 2 | 0.015 | 35 | 3.03 | 1220 | 625 | 1845 | 1.95 | csd_1789890603 | 4.2204e-05 | 53.022 | 2.0676 | 0.00020361 | 57.381 | 2.3946 | 1.6058e-06 | 60.903 | 2.7147 | 4.1896e-06 | 65.938 | 3.0209 | 4.8465e-06 | 76.467 | 4.3442 | 1.0808e-06 | 86.946 | 5.6437 | 2.1404e-06 | 102.709 | 7.9158 | Run036.mca | 599.46 | 2026-09-20 00:39 | 10.0033 | 9.84 x 1.0166 | 16814 | 16799 | 1024 |  | 123.3989 | 238.7145 | 221 | 0.74579 | 0.067746 | 0.26147 | -0.013332 | 0.00052596 | 0.013332 | 0.00052596 | 0.49998 | 0.09684 | 75.0088 | 2.9592 | 1-sigma propagated from slope standard error | Run036_analysis.png | ok
2026-09-20 | 0:51 |  |  |  | 37 | 1:02 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.688 | 11 |  | 12.5 | 1.861 | 2 | 0.009 | 27 | 3.03 | 1553 | 313 | 1866 | 4.96 | csd_1789891304 | 9.0732e-05 | 53.113 | 2.0738 | 0.00025344 | 57.386 | 2.3951 | 1.2883e-06 | 60.907 | 2.7149 | 3.886e-06 | 66.013 | 3.0255 | 4.2709e-06 | 76.473 | 4.3449 | 0.00015961 | 81.909 | 4.9903 | 0.00011799 | 100.623 | 7.6151 | Run037.mca | 599.04 | 2026-09-20 00:51 | 10.0033 | 9.84 x 1.0166 | 15317 | 15292 | 1024 |  | 119.7297 | 220.3689 | 193 | 0.64572 | 0.0968 | 0.31275 | -0.014383 | 0.00077089 | 0.014383 | 0.00077089 | 0.55228 | 0.13301 | 69.525 | 3.7263 | 1-sigma propagated from slope standard error | Run037_analysis.png | ok
2026-09-20 | 1:05 |  |  |  | 38 | 1:15 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.706 | 11 |  | 12.5 | 1.96 | 2 | 0.013 | 22 | 1.28 | 1650 | 206 | 1856 | 8.01 | csd_1789892112 | 0.00011885 | 53.112 | 2.0737 | 0.00025398 | 57.465 | 2.4029 | 4.0374e-06 | 58.897 | 2.5444 | 2.9897e-06 | 66.081 | 3.0296 | 3.6746e-06 | 76.531 | 4.3518 | 0.00013585 | 81.963 | 4.9967 | 0.00011773 | 100.666 | 7.6213 | Run038.mca | 599.64 | 2026-09-20 01:05 | 10.0033 | 9.84 x 1.0166 | 14729 | 14720 | 1024 |  | 124.9714 | 227.7071 | 197 | 0.55576 | 0.13271 | 0.36616 | -0.01367 | 0.0008752 | 0.01367 | 0.0008752 | 0.3855 | 0.15652 | 73.1543 | 4.6837 | 1-sigma propagated from slope standard error | Run038_analysis.png | ok
2026-09-20 | 1:17 |  |  |  | 39 | 1:28 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.708 | 11 |  | 12.5 | 1.956 | 2 | 0.023 | 22 | 1.19 | 1724 | 130 | 1854 | 13.26 | csd_1789892871 | 0.00012961 | 53.112 | 2.0737 | 0.00025719 | 57.465 | 2.4029 | 4.0685e-06 | 58.975 | 2.5521 | 3.0822e-06 | 66.081 | 3.0296 | 3.6613e-06 | 76.531 | 4.3518 | 0.00013494 | 81.907 | 4.9901 | 0.00011627 | 100.666 | 7.6213 | Run039.mca | 598.86 | 2026-09-20 01:17 | 10.0033 | 9.84 x 1.0166 | 14184 | 14157 | 1024 |  | 120.7781 | 220.3689 | 191 | 0.66502 | 0.087521 | 0.2974 | -0.014423 | 0.0007446 | 0.014423 | 0.0007446 | 0.45451 | 0.12882 | 69.332 | 3.5792 | 1-sigma propagated from slope standard error | Run039_analysis.png | ok
2026-09-20 | 1:30 |  |  |  | 40 | 1:40 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.724 | 11 |  | 12.5 | 1.985 | 2 | 0.014 | 22 | 1.22 | 1766 | 90 | 1856 | 19.62 | csd_1789893581 | 0.00013418 | 53.11 | 2.0736 | 0.00025749 | 57.463 | 2.4027 | 4.0289e-06 | 58.974 | 2.552 | 3.102e-06 | 66.08 | 3.0296 | 3.6817e-06 | 76.53 | 4.3517 | 0.00013852 | 81.961 | 4.9965 | 0.0001213 | 100.618 | 7.6144 | Run040.mca | 599.04 | 2026-09-20 01:30 | 10.0033 | 9.84 x 1.0166 | 13398 | 13377 | 1024 |  | 125.4955 | 225.0863 | 191 | 0.67659 | 0.084472 | 0.29218 | -0.014546 | 0.00073152 | 0.014546 | 0.00073152 | 0.42825 | 0.12996 | 68.748 | 3.4574 | 1-sigma propagated from slope standard error | Run040_analysis.png | ok
2026-09-20 | 13:14 |  | total power 2500 W |  | 41 | 13:24 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.942 | 10.5 |  | 12.5 | 1.498 | 2 | 0 | 20 | 1.31 | 830 | 1640 | 2470 | 0.51 | csd_1789935832 | 1.5223e-05 | 53.019 | 2.0674 | 8.6703e-05 | 57.378 | 2.3943 | 1.7717e-06 | 60.899 | 2.7145 | 3.2405e-06 | 65.864 | 3.0164 | 4.5833e-06 | 76.403 | 4.3366 | 1.5849e-06 | 86.835 | 5.6277 | 0.00015505 | 100.564 | 7.6066 | Run041.mca | 599.64 | 2026-09-20 13:14 | 10.0033 | 9.84 x 1.0166 | 20934 | 20921 | 1024 |  | 129.6888 | 217.748 | 169 | 0.71417 | 0.040471 | 0.20238 | -0.012436 | 0.00060878 | 0.012436 | 0.00060878 | 0.60309 | 0.1069 | 80.4142 | 3.9366 | 1-sigma propagated from slope standard error | Run041_analysis.png | ok
2026-09-20 | 13:26 |  |  |  | 42 | 13:37 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.808 | 10.5 |  | 12.5 | 2.27 | 2 | 0.008 | 31 | 2.41 | 1072 | 1456 | 2528 | 0.74 | csd_1789936616 | 9.1592e-05 | 53.112 | 2.0737 | 0.00026972 | 57.384 | 2.3949 | 3.8605e-06 | 60.906 | 2.7149 | 6.2576e-06 | 66.011 | 3.0254 | 6.9456e-06 | 76.471 | 4.3447 | 1.3251e-06 | 86.95 | 5.6442 | 2.1362e-06 | 102.759 | 7.923 | Run042.mca | 599.22 | 2026-09-20 13:26 | 10.0033 | 9.84 x 1.0166 | 22381 | 22352 | 1024 |  | 122.3505 | 239.7629 | 225 | 0.78728 | 0.057379 | 0.24061 | -0.013536 | 0.00047116 | 0.013536 | 0.00047116 | 0.83336 | 0.086802 | 73.878 | 2.5716 | 1-sigma propagated from slope standard error | Run042_analysis.png | ok
2026-09-20 | 13:41 |  |  |  | 43 | 13:51 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.748 | 10.5 |  | 12.5 | 2.13 | 2 | -0.005 | 31 | 2.57 | 1246 | 1261 | 2507 | 0.99 | csd_1789937476 | 7.3988e-05 | 53.024 | 2.0678 | 0.00025551 | 57.384 | 2.3949 | 3.3271e-06 | 60.906 | 2.7149 | 5.3874e-06 | 66.011 | 3.0254 | 5.6973e-06 | 76.471 | 4.3447 | 1.2744e-06 | 87.003 | 5.6519 | 0.0001049 | 100.528 | 7.6014 | Run043.mca | 599.34 | 2026-09-20 13:41 | 10.0033 | 9.84 x 1.0166 | 22587 | 22562 | 1024 |  | 124.4472 | 232.9488 | 208 | 0.70892 | 0.063389 | 0.25299 | -0.012484 | 0.00055737 | 0.012484 | 0.00055737 | 0.67049 | 0.10113 | 80.1009 | 3.5761 | 1-sigma propagated from slope standard error | Run043_analysis.png | ok
2026-09-20 | 13:55 |  |  |  | 44 | 14:06 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.75 | 10.5 |  | 12.5 | 1.988 | 2 | -0.004 | 31 | 2.94 | 1661 | 844 | 2505 | 1.97 | csd_1789938376 | 6.5161e-05 | 53.024 | 2.0678 | 0.00023442 | 57.303 | 2.3869 | 2.2559e-06 | 60.906 | 2.7149 | 4.7093e-06 | 65.941 | 3.0211 | 4.8075e-06 | 76.471 | 4.3447 | 1.1182e-06 | 86.95 | 5.6442 | 0.0001045 | 100.482 | 7.5948 | Run044.mca | 598.8 | 2026-09-20 13:55 | 10.0033 | 9.84 x 1.0166 | 21981 | 21937 | 1024 |  | 128.6405 | 236.6179 | 207 | 0.72169 | 0.062534 | 0.25128 | -0.012857 | 0.00055762 | 0.012857 | 0.00055762 | 0.69563 | 0.10332 | 77.7802 | 3.3735 | 1-sigma propagated from slope standard error | Run044_analysis.png | ok
2026-09-20 | 14:09 |  |  |  | 45 | 14:32 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.77 | 10.5 |  | 12.5 | 1.854 | 2 | -0.004 | 28 | 3.25 | 2084 | 421 | 2505 | 4.95 | csd_1789939937 | 8.2121e-05 | 53.024 | 2.0678 | 0.0002512 | 57.384 | 2.3949 | 1.5002e-06 | 60.906 | 2.7149 | 3.9044e-06 | 65.941 | 3.0211 | 4.2607e-06 | 76.471 | 4.3447 | 0.00015777 | 81.907 | 4.9901 | 0.00011445 | 100.528 | 7.6014 | Run045.mca | 599.58 | 2026-09-20 14:09 | 10.0033 | 9.84 x 1.0166 | 20307 | 20294 | 1024 |  | 120.2539 | 228.7555 | 208 | 0.718 | 0.062193 | 0.25059 | -0.012644 | 0.00055208 | 0.012644 | 0.00055208 | 0.56257 | 0.097895 | 79.0898 | 3.4534 | 1-sigma propagated from slope standard error | Run045_analysis.png | ok
2026-09-20 | 14:35 |  |  |  | 46 | 14:45 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.778 | 10.5 |  | 12.5 | 1.93 | 2 | -0.003 | 28 | 3.16 | 2214 | 280 | 2494 | 7.91 | csd_1789940692 | 0.00010053 | 53.023 | 2.0677 | 0.00025553 | 57.383 | 2.3948 | 1.4598e-06 | 60.904 | 2.7148 | 3.7145e-06 | 65.939 | 3.021 | 4.3852e-06 | 76.469 | 4.3444 | 0.0001605 | 81.848 | 4.9831 | 0.00011728 | 100.572 | 7.6078 | Run046.mca | 599.1 | 2026-09-20 14:35 | 10.0033 | 9.84 x 1.0166 | 19189 | 19160 | 1024 |  | 123.3989 | 235.0454 | 214 | 0.76818 | 0.054091 | 0.23367 | -0.013075 | 0.0004933 | 0.013075 | 0.0004933 | 0.59209 | 0.089841 | 76.4837 | 2.8857 | 1-sigma propagated from slope standard error | Run046_analysis.png | ok
2026-09-20 | 17:07 |  |  |  | 47 | 17:18 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.749 | 10.5 |  | 12.5 | 1.975 | 2 | -0.001 | 23 | 1.5 | 2373 | 120 | 2493 | 19.78 | csd_1789949851 | 0.00013358 | 53.112 | 2.0737 | 0.00024322 | 57.384 | 2.3949 | 4.0583e-06 | 58.897 | 2.5444 | 3.1094e-06 | 66.011 | 3.0254 | 3.659e-06 | 76.531 | 4.3518 | 0.00013285 | 81.907 | 4.9901 | 0.00010734 | 100.62 | 7.6147 | Run047.mca | 599.4 | 2026-09-20 17:07 | 10.0033 | 9.84 x 1.0166 | 17754 | 17737 | 1024 |  | 124.9714 | 229.2796 | 200 | 0.77525 | 0.060363 | 0.24693 | -0.015078 | 0.00057697 | 0.015078 | 0.00057697 | 0.83108 | 0.10368 | 66.3202 | 2.5377 | 1-sigma propagated from slope standard error | Run047_analysis.png | ok
2026-09-20 | 17:19 |  |  |  | 48 | 17:30 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.73 | 10.5 |  | 12.5 | 1.919 | 2 | 0.003 | 23 | 1.85 | 2329 | 175 | 2504 | 13.31 | csd_1789950602 | 0.00012205 | 53.023 | 2.0677 | 0.00023812 | 57.383 | 2.3948 | 4.0509e-06 | 58.817 | 2.5365 | 3.2e-06 | 66.009 | 3.0253 | 3.79e-06 | 76.469 | 4.3444 | 0.00013525 | 81.905 | 4.9898 | 0.00010988 | 100.618 | 7.6144 | Run048.mca | 598.74 | 2026-09-20 17:19 | 10.0033 | 9.84 x 1.0166 | 18190 | 18152 | 1024 |  | 128.6405 | 244.4803 | 222 | 0.78588 | 0.059904 | 0.24586 | -0.013959 | 0.00049124 | 0.013959 | 0.00049124 | 0.69349 | 0.093119 | 71.6376 | 2.521 | 1-sigma propagated from slope standard error | Run048_analysis.png | ok
2026-09-20 | 17:39 |  | total power 3600 W |  | 49 | 17:50 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.769 | 10.5 |  | 12.5 | 2.093 | 2 | 0.011 | 28 | 2.47 | 1796 | 1773 | 3569 | 1.01 | csd_1789951803 | 0.00011304 | 53.11 | 2.0736 | 0.00025983 | 57.463 | 2.4027 | 3.7863e-06 | 60.98 | 2.7194 | 5.2775e-06 | 66.009 | 3.0253 | 5.6994e-06 | 76.53 | 4.3517 | 1.3129e-06 | 87.001 | 5.6516 | 0.00010314 | 100.618 | 7.6144 | Run049.mca | 599.22 | 2026-09-20 17:38 | 10.0033 | 9.84 x 1.0166 | 31499 | 31460 | 1024 |  | 124.4472 | 245.5286 | 232 | 0.84294 | 0.038269 | 0.19647 | -0.01291 | 0.00036745 | 0.01291 | 0.00036745 | 1.0847 | 0.069188 | 77.4588 | 2.2047 | 1-sigma propagated from slope standard error | Run049_analysis.png | ok
2026-09-20 | 17:56 |  |  |  | 50 | 18:07 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.721 | 10.5 |  | 12.5 | 2.112 | 2 | 0.001 | 29 | 2.31 | 2398 | 1218 | 3616 | 1.97 | csd_1789952795 | 8.5269e-05 | 53.024 | 2.0678 | 0.00024541 | 57.384 | 2.3949 | 2.9871e-06 | 60.982 | 2.7195 | 4.4695e-06 | 66.011 | 3.0254 | 5.0997e-06 | 76.531 | 4.3518 | 1.1711e-06 | 86.95 | 5.6442 | 5.2129e-06 | 101.991 | 7.8123 | Run050.mca | 598.98 | 2026-09-20 17:56 | 10.0033 | 9.84 x 1.0166 | 32252 | 32198 | 1024 |  | 130.7371 | 250.7703 | 230 | 0.79743 | 0.055597 | 0.23682 | -0.013443 | 0.0004487 | 0.013443 | 0.0004487 | 1.221 | 0.087004 | 74.3897 | 2.483 | 1-sigma propagated from slope standard error | Run050_analysis.png | ok
2026-09-20 | 18:09 |  |  |  | 51 | 18:20 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.718 | 10.5 |  | 12.5 | 2.1 | 2 | 0.001 | 30 | 1.56 | 3012 | 608 | 3620 | 4.95 | csd_1789953586 | 0.00011182 | 53.024 | 2.0678 | 0.00025117 | 57.384 | 2.3949 | 1.9618e-06 | 61.057 | 2.7241 | 3.8322e-06 | 66.011 | 3.0254 | 4.6455e-06 | 76.471 | 4.3447 | 1.1493e-06 | 86.95 | 5.6442 | 7.0462e-06 | 101.718 | 7.773 | Run051.mca | 599.1 | 2026-09-20 18:09 | 10.0033 | 9.84 x 1.0166 | 30586 | 30541 | 1024 |  | 129.6888 | 263.3502 | 256 | 0.84434 | 0.060388 | 0.24671 | -0.014775 | 0.00039806 | 0.014775 | 0.00039806 | 1.396 | 0.079732 | 67.6808 | 1.8234 | 1-sigma propagated from slope standard error | Run051_analysis.png | ok
2026-09-20 | 18:21 |  |  |  | 52 | 18:33 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.692 | 10.5 |  | 12.5 | 2.038 | 2 | -0.001 | 30 | 1.35 | 3194 | 402 | 3596 | 7.95 | csd_1789954351 | 0.00012068 | 53.02 | 2.0675 | 0.0002511 | 57.38 | 2.3945 | 1.9239e-06 | 61.053 | 2.7238 | 3.6844e-06 | 66.006 | 3.0251 | 4.3719e-06 | 76.526 | 4.3512 | 0.00014961 | 81.9 | 4.9892 | 0.00011349 | 100.521 | 7.6004 | Run052.mca | 599.22 | 2026-09-20 18:21 | 10.0033 | 9.84 x 1.0166 | 29218 | 29181 | 1024 |  | 128.6405 | 254.9636 | 242 | 0.79751 | 0.071282 | 0.2681 | -0.01447 | 0.00047065 | 0.01447 | 0.00047065 | 1.2765 | 0.091902 | 69.1079 | 2.2478 | 1-sigma propagated from slope standard error | Run052_analysis.png | ok
2026-09-20 | 18:34 |  |  |  | 53 | 18:45 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.696 | 10.5 |  | 12.5 | 2.08 | 2 | 0.001 | 33 | 1.38 | 3339 | 253 | 3592 | 13.2 | csd_1789955111 | 0.00012033 | 53.022 | 2.0676 | 0.00025377 | 57.381 | 2.3946 | 1.8124e-06 | 60.978 | 2.7193 | 3.6587e-06 | 66.008 | 3.0252 | 4.5323e-06 | 76.588 | 4.3586 | 0.00014726 | 81.959 | 4.9963 | 0.00011397 | 100.569 | 7.6073 | Run053.mca | 599.22 | 2026-09-20 18:34 | 10.0033 | 9.84 x 1.0166 | 28844 | 28806 | 1024 |  | 121.8264 | 253.9152 | 253 | 0.81478 | 0.061813 | 0.24961 | -0.013621 | 0.00040993 | 0.013621 | 0.00040993 | 1.0732 | 0.078597 | 73.4135 | 2.2093 | 1-sigma propagated from slope standard error | Run053_analysis.png | ok
2026-09-20 | 18:48 |  |  |  | 54 | 18:58 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.68 | 10.5 |  | 12.5 | 2.234 | 2 | 0.003 | 33 | 1.72 | 3425 | 171 | 3596 | 20.03 | csd_1789955863 | 0.00017449 | 53.023 | 2.0677 | 0.0002819 | 57.463 | 2.4027 | 1.7204e-06 | 61.056 | 2.724 | 3.7507e-06 | 66.08 | 3.0296 | 4.1704e-06 | 76.59 | 4.3588 | 0.0001357 | 81.961 | 4.9965 | 9.7957e-05 | 100.572 | 7.6078 | Run054.mca | 599.04 | 2026-09-20 18:48 | 10.0033 | 9.84 x 1.0166 | 27640 | 27595 | 1024 |  | 125.4955 | 245.0045 | 229 | 0.83577 | 0.05212 | 0.2293 | -0.014863 | 0.0004373 | 0.014863 | 0.0004373 | 1.2482 | 0.082415 | 67.2812 | 1.9796 | 1-sigma propagated from slope standard error | Run054_analysis.png | ok
2026-09-20 | 19:02 |  | total power 5200 W |  | 55 | 19:12 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.766 | 10.5 |  | 12.5 | 1.802 | 2 | 0 | 23 | 1.66 | 3468 | 1708 | 5176 | 2.03 | csd_1789956731 | 8.7827e-05 | 53.023 | 2.0677 | 0.0002065 | 57.383 | 2.3948 | 3.6632e-06 | 60.98 | 2.7194 | 3.9706e-06 | 66.009 | 3.0253 | 4.5881e-06 | 76.53 | 4.3517 | 1.3168e-06 | 86.948 | 5.6439 | 0.00011385 | 100.756 | 7.6343 | Run055.mca | 599.16 | 2026-09-20 19:02 | 10.0033 | 9.84 x 1.0166 | 47410 | 47346 | 1024 |  | 126.5438 | 246.0528 | 229 | 0.88832 | 0.02624 | 0.1627 | -0.013185 | 0.00031029 | 0.013185 | 0.00031029 | 1.5522 | 0.058797 | 75.8443 | 1.7849 | 1-sigma propagated from slope standard error | Run055_analysis.png | ok
2026-09-20 | 19:16 |  |  |  | 56 | 20:05 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.827 | 10.5 |  | 12.5 | 2.031 | 2 | 0.001 | 23 | 1.75 | 4351 | 877 | 5228 | 4.96 | csd_1789959879 | 0.00014563 | 53.024 | 2.0678 | 0.00024205 | 57.384 | 2.3949 | 2.3705e-06 | 60.982 | 2.7195 | 3.5526e-06 | 66.011 | 3.0254 | 3.8562e-06 | 76.531 | 4.3518 | 0.00012162 | 81.907 | 4.9901 | 0.00010117 | 100.574 | 7.6081 | Run056.mca | 598.92 | 2026-09-20 19:16 | 10.0033 | 9.84 x 1.0166 | 45168 | 45086 | 1024 |  | 130.7371 | 256.0119 | 240 | 0.87239 | 0.036729 | 0.19245 | -0.013799 | 0.00034208 | 0.013799 | 0.00034208 | 1.6228 | 0.067307 | 72.4711 | 1.7966 | 1-sigma propagated from slope standard error | Run056_analysis.png | ok
2026-09-20 | 20:08 |  |  |  | 57 | 20:18 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.813 | 10.5 |  | 12.5 | 1.913 | 2 | -0.004 | 24 | 2.06 | 4621 | 583 | 5204 | 7.93 | csd_1789960689 | 0.00014872 | 53.023 | 2.0677 | 0.00022836 | 57.383 | 2.3948 | 2.1964e-06 | 60.98 | 2.7194 | 3.3055e-06 | 66.009 | 3.0253 | 3.6958e-06 | 76.53 | 4.3517 | 0.00012026 | 81.905 | 4.9898 | 0.00010126 | 100.572 | 7.6078 | Run057.mca | 599.1 | 2026-09-20 20:08 | 10.0033 | 9.84 x 1.0166 | 42725 | 42662 | 1024 |  | 132.8338 | 257.5844 | 239 | 0.87361 | 0.041031 | 0.20341 | -0.014726 | 0.00036384 | 0.014726 | 0.00036384 | 1.715 | 0.072234 | 67.9064 | 1.6778 | 1-sigma propagated from slope standard error | Run057_analysis.png | ok
2026-09-20 | 20:21 |  |  |  | 58 | 20:31 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.823 | 10.5 |  | 12.5 | 2.022 | 2 | -0.006 | 23 | 1.88 | 4846 | 354 | 5200 | 13.69 | csd_1789961470 | 0.00017464 | 53.024 | 2.0678 | 0.00025337 | 57.384 | 2.3949 | 1.953e-06 | 61.057 | 2.7241 | 3.3474e-06 | 66.011 | 3.0254 | 3.6483e-06 | 76.531 | 4.3518 | 0.00011818 | 81.907 | 4.9901 | 9.7999e-05 | 100.528 | 7.6014 | Run058.mca | 599.1 | 2026-09-20 20:21 | 10.0033 | 9.84 x 1.0166 | 41917 | 41856 | 1024 |  | 130.7371 | 264.3985 | 256 | 0.85826 | 0.049359 | 0.22304 | -0.014114 | 0.00035988 | 0.014114 | 0.00035988 | 1.557 | 0.072454 | 70.8534 | 1.8067 | 1-sigma propagated from slope standard error | Run058_analysis.png | ok
2026-09-20 | 20:35 |  |  |  | 59 | 20:46 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.82 | 10.5 |  | 12.5 | 2.03 | 2 | -0.006 | 23 | 2 | 4944 | 251 | 5195 | 19.7 | csd_1789962349 | 0.00017652 | 53.109 | 2.0735 | 0.00025761 | 57.462 | 2.4026 | 2.0558e-06 | 61.054 | 2.7239 | 3.2668e-06 | 66.078 | 3.0295 | 3.6562e-06 | 76.528 | 4.3514 | 1.1312e-06 | 86.999 | 5.6513 | 9.8986e-05 | 100.661 | 7.6206 | Run059.mca | 599.28 | 2026-09-20 20:35 | 10.0033 | 9.84 x 1.0166 | 41885 | 41834 | 1024 |  | 122.3505 | 246.577 | 238 | 0.85067 | 0.042769 | 0.20768 | -0.013707 | 0.00037382 | 0.013707 | 0.00037382 | 1.4674 | 0.070258 | 72.9579 | 1.9898 | 1-sigma propagated from slope standard error | Run059_analysis.png | ok
2026-09-20 | 20:50 |  | total power 6800 W |  | 60 | 21:01 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.881 | 10.5 |  | 12.5 | 2.097 | 2 | -0.006 | 23 | 2.38 | 4995 | 1767 | 6762 | 2.83 | csd_1789963246 | 0.00012815 | 53.027 | 2.068 | 1.627e-06 | 55.501 | 2.2347 | 4.261e-06 | 60.985 | 2.7197 | 3.8509e-06 | 66.014 | 3.0256 | 3.9944e-06 | 76.535 | 4.3523 | 1.2863e-06 | 86.901 | 5.6372 | 0.00010724 | 100.579 | 7.6088 | Run060.mca | 599.1 | 2026-09-20 20:50 | 10.0033 | 9.84 x 1.0166 | 61769 | 61677 | 1024 |  | 129.1647 | 263.3502 | 257 | 0.88034 | 0.036141 | 0.19085 | -0.01326 | 0.00030614 | 0.01326 | 0.00030614 | 1.8293 | 0.061251 | 75.4161 | 1.7412 | 1-sigma propagated from slope standard error | Run060_analysis.png | ok
2026-09-20 | 21:03 |  |  |  | 61 | 21:13 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.932 | 10.5 |  | 12.5 | 2.353 | 2 | -0.003 | 27 | 2.97 | 5260 | 1574 | 6834 | 3.34 | csd_1789963970 | 0.00016242 | 53.024 | 2.0678 | 0.00027396 | 57.384 | 2.3949 | 3.4445e-06 | 60.982 | 2.7195 | 3.8727e-06 | 66.081 | 3.0296 | 4.1033e-06 | 76.592 | 4.359 | 1.2917e-06 | 87.003 | 5.6519 | 9.561e-05 | 100.574 | 7.6081 | Run061.mca | 599.34 | 2026-09-20 21:03 | 10.0033 | 9.84 x 1.0166 | 62215 | 62148 | 1024 |  | 128.6405 | 257.5844 | 247 | 0.89047 | 0.031274 | 0.17756 | -0.013492 | 0.0003023 | 0.013492 | 0.0003023 | 1.887 | 0.059461 | 74.1199 | 1.6608 | 1-sigma propagated from slope standard error | Run061_analysis.png | ok
2026-09-20 | 21:15 |  |  |  | 62 | 21:27 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.938 | 10.5 |  | 12.5 | 2.114 | 2 | -0.003 | 24 | 2.91 | 5461 | 1370 | 6831 | 3.99 | csd_1789964812 | 0.00015485 | 53.026 | 2.0679 | 0.00025781 | 57.386 | 2.3951 | 3.2982e-06 | 60.983 | 2.7196 | 3.61e-06 | 66.013 | 3.0255 | 3.7516e-06 | 76.533 | 4.352 | 1.2741e-06 | 87.006 | 5.6523 | 0.00010094 | 100.669 | 7.6218 | Run062.mca | 599.28 | 2026-09-20 21:15 | 10.0033 | 9.84 x 1.0166 | 61337 | 61263 | 1024 |  | 124.9714 | 266.4951 | 271 | 0.90165 | 0.033479 | 0.18365 | -0.013511 | 0.00027206 | 0.013511 | 0.00027206 | 1.8552 | 0.054408 | 74.0149 | 1.4904 | 1-sigma propagated from slope standard error | Run062_analysis.png | ok
2026-09-20 | 21:28 |  |  |  | 63 | 21:42 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.914 | 10.5 |  | 12.5 | 2.014 | 2 | 0.002 | 24 | 2.85 | 5674 | 1150 | 6824 | 4.93 | csd_1789965740 | 0.00013682 | 53.024 | 2.0678 | 0.00023808 | 57.384 | 2.3949 | 2.9555e-06 | 60.906 | 2.7149 | 3.4139e-06 | 66.011 | 3.0254 | 3.8353e-06 | 76.531 | 4.3518 | 1.3084e-06 | 86.95 | 5.6442 | 0.00010752 | 100.574 | 7.6081 | Run063.mca | 598.98 | 2026-09-20 21:28 | 10.0033 | 9.84 x 1.0166 | 59365 | 59267 | 1024 |  | 126.5438 | 259.1569 | 254 | 0.89896 | 0.029785 | 0.17327 | -0.013394 | 0.00028287 | 0.013394 | 0.00028287 | 1.7959 | 0.055625 | 74.6588 | 1.5767 | 1-sigma propagated from slope standard error | Run063_analysis.png | ok
2026-09-20 | 21:52 |  |  |  | 64 | 22:09 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.89 | 10.5 |  | 12.5 | 1.975 | 2 | 0.005 | 24 | 2.78 | 5699 | 1009 | 6708 | 5.65 | csd_1789967368 | 0.00013563 | 53.02 | 2.0675 | 0.00023028 | 57.38 | 2.3945 | 2.8253e-06 | 60.977 | 2.7192 | 3.4606e-06 | 66.006 | 3.0251 | 3.6409e-06 | 76.465 | 4.344 | 1.2337e-06 | 86.943 | 5.6432 | 0.00010546 | 100.567 | 7.6071 | Run064.mca | 599.22 | 2026-09-20 21:52 | 10.0033 | 9.84 x 1.0166 | 57949 | 57874 | 1024 |  | 122.8747 | 258.6327 | 260 | 0.89859 | 0.030642 | 0.17573 | -0.013245 | 0.00027702 | 0.013245 | 0.00027702 | 1.7418 | 0.053954 | 75.5007 | 1.5791 | 1-sigma propagated from slope standard error | Run064_analysis.png | ok
2026-09-20 | 22:12 |  |  |  | 65 | 22:22 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.876 | 10.5 |  | 12.5 | 1.938 | 2 | -0.005 | 24 | 2.66 | 5607 | 568 | 6175 | 9.87 | csd_1789968140 | 0.00011772 | 53.023 | 2.0677 | 0.00020848 | 57.302 | 2.3868 | 2.3261e-06 | 60.98 | 2.7194 | 3.065e-06 | 66.009 | 3.0253 | 3.5931e-06 | 76.53 | 4.3517 | 1.2076e-06 | 86.948 | 5.6439 | 0.00010708 | 100.618 | 7.6144 | Run065.mca | 599.1 | 2026-09-20 22:11 | 10.0033 | 9.84 x 1.0166 | 50854 | 50781 | 1024 |  | 124.9714 | 248.1495 | 236 | 0.88154 | 0.03199 | 0.17962 | -0.013663 | 0.00032743 | 0.013663 | 0.00032743 | 1.6796 | 0.062194 | 73.1878 | 1.7539 | 1-sigma propagated from slope standard error | Run065_analysis.png | ok
2026-09-20 | 22:24 |  |  |  | 66 | 22:39 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.884 | 10.5 |  | 12.5 | 1.948 | 2 | -0.008 | 24 | 3.07 | 5595 | 283 | 5878 | 19.77 | csd_1789969154 | 0.00016651 | 53.024 | 2.0678 | 0.00025431 | 57.384 | 2.3949 | 2.2723e-06 | 60.982 | 2.7195 | 3.322e-06 | 66.011 | 3.0254 | 3.7991e-06 | 76.471 | 4.3447 | 1.2334e-06 | 86.95 | 5.6442 | 9.515e-05 | 100.528 | 7.6014 | Run066.mca | 599.1 | 2026-09-20 22:24 | 10.0033 | 9.84 x 1.0166 | 47273 | 47203 | 1024 |  | 122.8747 | 254.9636 | 253 | 0.86865 | 0.045404 | 0.21393 | -0.014314 | 0.00035133 | 0.014314 | 0.00035133 | 1.6893 | 0.067723 | 69.8612 | 1.7147 | 1-sigma propagated from slope standard error | Run066_analysis.png | ok