## Sheet1
Date | Time | Detector | Comments | Action | Run | CSD | Inj (A) | Extr (A) | Cent (A) | Sext (A) | Inj (T) | Extr (T) | Cent (T) | Sext (T) | Inj Pres (-7) | Oxygen % | Xenon % | Extr HV | Extr I | Puller HV | Puller I | Bias V | Bias I | 28 GHz | 18 GHz | Total Power | 28/18 Ratio | csd_name | O8+_beam_current | O8+_batman_current | O8+_mq | O7+_beam_current | O7+_batman_current | O7+_mq | O6+_beam_current | O6+_batman_current | O6+_mq | O5+_beam_current | O5+_batman_current | O5+_mq | O4+_beam_current | O4+_batman_current | O4+_mq | O3+_beam_current | O3+_batman_current | O3+_mq | O2+_beam_current | O2+_batman_current | O2+_mq | file | livetime | start_time | gain | gain_formula | fast_count | slow_count | raw_data_length | peak_energy_keV | fit_range_min_keV | fit_range_max_keV | fit_points | fit_r_squared | fit_mean_squared_error | fit_residual_std_error | fit_slope | fit_slope_error | alpha | alpha_error | fit_intercept_beta | fit_intercept_beta_error | spectral_temperature | spectral_temperature_error | spectral_temperature_error_type | plot_file | fit_status
2026-09-19 | 14:48 | CdTe | 28 GHz fields, tuned up big stable O6+ | preset time 300 seconds | 1 |  | 185 | 142 | 150 | 430 | 3.38 | 1.96 | 0.48 | 2.05 | 0.674 | 8.6 |  | 12.5 | 1.8 | 2.2 | 0.002 | 30 | 2.6 | 2494 | 988 | 3482 | 2.52 |  | 6.1905 | 49.687 | 2.1464 | 51.3605 | 53.109 | 2.376 | 196.723 | 57.542 | 2.7195 | 144.082 | 63.068 | 3.1637 | 150.381 | 70.746 | 3.8485 | 148.836 | 81.846 | 5.3414 | 126.295 | 100.707 | 8.0368 | Run001.mca | 299.97 | 2026-09-19 14:42 | 10.0033 | 9.84 x 1.0166 | 13767 | 13766 | 1024 |  | 122.3505 | 216.1756 | 180 | 0.52855 | 0.073744 | 0.27308 | -0.010557 | 0.00074733 | 0.010557 | 0.00074733 | 0.5777 | 0.12812 | 94.7217 | 6.7052 | 1-sigma propagated from slope standard error | Run001_analysis.png | ok
2026-09-19 | 17:04 |  |  | B fields to match Janilee, preset time 600 seconds | 2 |  | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.703 | 9.4 |  | 12.5 | 1.75 | 2 | 0.028 | 24 | 1.94 | 2513 | 998 | 3511 | 2.52 |  | 4.9434 | 49.595 | 2.1422 | 55.5551 | 53.11 | 2.3778 | 227.642 | 57.463 | 2.713 | 174.109 | 63.069 | 3.1648 | 180.767 | 70.747 | 3.8491 | 172.981 | 81.905 | 5.3475 | 116.857 | 100.71 | 8.0338 | Run002.mca | 599.46 | 2026-09-19 16:54 | 10.0033 | 9.84 x 1.0166 | 30202 | 30175 | 1024 |  | 131.2613 | 227.7071 | 185 | 0.82131 | 0.030836 | 0.17656 | -0.013449 | 0.00046373 | 0.013449 | 0.00046373 | 1.1459 | 0.084238 | 74.3551 | 2.5638 | 1-sigma propagated from slope standard error | Run002_analysis.png | ok
2026-09-19 | 17:13 |  | total power 640 W |  | 3 | 17:23 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.594 | 10.5 |  | 12.5 | 1.661 | 2 | 0.02 | 27 | 1.19 | 59 | 587 | 646 | 0.1 | csd_1789863796 | 3.1585 | 49.597 | 2.1446 | 39.7045 | 53.112 | 2.3803 | 205.336 | 57.465 | 2.7158 | 174.04 | 62.997 | 3.1632 | 198.65 | 70.684 | 3.8415 | 182.053 | 81.907 | 5.352 | 119.032 | 100.666 | 8.0332 | Run003.mca | 599.1 | 2026-09-19 17:13 | 10.0033 | 9.84 x 1.0166 | 4032 | 4026 | 1024 |  | 128.1163 | 187.3466 | 114 | 0.23664 | 0.15237 | 0.39382 | -0.0126 | 0.0021383 | 0.0126 | 0.0021383 | -1.1378 | 0.3393 | 79.3658 | 13.4693 | 1-sigma propagated from slope standard error | Run003_analysis.png | ok
2026-09-19 | 17:26 |  |  |  | 4 | 17:37 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.563 | 10.5 |  | 12.5 | 2.04 | 2 | 0.02 | 32 | 1.75 | 105 | 539 | 644 | 0.19 | csd_1789864638 | 2.6786 | 49.597 | 2.1447 | 34.0698 | 53.112 | 2.3806 | 181.764 | 57.465 | 2.7164 | 171.183 | 63.071 | 3.169 | 197.717 | 70.618 | 3.8318 | 182.041 | 81.907 | 5.3555 | 123.449 | 100.62 | 8.0328 | Run004.mca | 599.88 | 2026-09-19 17:26 | 10.0033 | 9.84 x 1.0166 | 4522 | 4521 | 1024 |  | 128.6405 | 192.0641 | 122 | 0.23577 | 0.21129 | 0.46348 | -0.013831 | 0.0022732 | 0.013831 | 0.0022732 | -0.8054 | 0.36692 | 72.3015 | 11.883 | 1-sigma propagated from slope standard error | Run004_analysis.png | ok
2026-09-19 | 17:39 |  |  |  | 5 | 17:52 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.55 | 10.5 |  | 12.5 | 1.87 | 2 | 0.021 | 32 | 1.78 | 213 | 432 | 645 | 0.49 | csd_1789865541 | 2.4244 | 49.687 | 2.1558 | 39.1139 | 53.109 | 2.3852 | 185.197 | 57.381 | 2.7121 | 179.144 | 62.994 | 3.1675 | 234.782 | 70.615 | 3.8334 | 190.04 | 81.902 | 5.3543 | 118.161 | 100.661 | 8.0334 | Run005.mca | 599.16 | 2026-09-19 17:40 | 10.0033 | 9.84 x 1.0166 | 4877 | 4870 | 1024 |  | 133.358 | 211.4581 | 149 | 0.37049 | 0.17343 | 0.41927 | -0.014036 | 0.001509 | 0.014036 | 0.001509 | -0.64018 | 0.26234 | 71.2451 | 7.6597 | 1-sigma propagated from slope standard error | Run005_analysis.png | ok
2026-09-19 | 17:54 |  |  |  | 6 | 18:07 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.556 | 10.5 |  | 12.5 | 1.821 | 2 | 0.029 | 32 | 1.78 | 274 | 369 | 643 | 0.74 | csd_1789866400 | 3.499 | 49.595 | 2.1447 | 41.806 | 53.11 | 2.3803 | 177.225 | 57.463 | 2.7158 | 150.178 | 62.996 | 3.1634 | 181.818 | 70.682 | 3.8413 | 173.973 | 81.905 | 5.352 | 120.266 | 100.664 | 8.0332 | Run006.mca | 599.64 | 2026-09-19 17:54 | 10.0033 | 9.84 x 1.0166 | 4971 | 4968 | 1024 |  | 138.5996 | 214.6031 | 146 | 0.36503 | 0.22699 | 0.47973 | -0.016352 | 0.0017972 | 0.016352 | 0.0017972 | -0.23557 | 0.31987 | 61.1541 | 6.7213 | 1-sigma propagated from slope standard error | Run006_analysis.png | ok
2026-09-19 | 18:08 |  |  |  | 7 | 18:19 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.543 | 11 |  | 12.5 | 1.9 | 2 | 0.028 | 38 | 2.06 | 317 | 322 | 639 | 0.98 | csd_1789867140 | 5.4485 | 49.595 | 2.1475 | 48.322 | 53.11 | 2.3832 | 194.784 | 57.383 | 2.7105 | 148.323 | 62.996 | 3.1661 | 180.29 | 70.682 | 3.8439 | 173.303 | 81.848 | 5.3474 | 121.148 | 100.664 | 8.035 | Run007.mca | 599.88 | 2026-09-19 18:09 | 10.0033 | 9.84 x 1.0166 | 5082 | 5081 | 1024 |  | 122.3505 | 213.5548 | 172 | 0.38942 | 0.20177 | 0.45183 | -0.013522 | 0.0012986 | 0.013522 | 0.0012986 | -0.73835 | 0.22035 | 73.9541 | 7.1023 | 1-sigma propagated from slope standard error | Run007_analysis.png | ok
2026-09-19 | 18:21 |  |  |  | 8 | 18:31 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.58 | 11 |  | 12.5 | 1.786 | 2 | 0.031 | 38 | 1.85 | 422 | 216 | 638 | 1.95 | csd_1789867869 | 6.1707 | 49.598 | 2.1434 | 53.1988 | 53.113 | 2.379 | 196.586 | 57.386 | 2.7064 | 147.406 | 63.073 | 3.1665 | 174.1 | 70.751 | 3.8516 | 164.934 | 81.909 | 5.3506 | 120.658 | 100.669 | 8.0318 | Run008.mca | 598.56 | 2026-09-19 18:21 | 10.0033 | 9.84 x 1.0166 | 5327 | 5314 | 1024 |  | 121.3022 | 215.1272 | 180 | 0.4758 | 0.16312 | 0.40614 | -0.014128 | 0.0011115 | 0.014128 | 0.0011115 | -0.54462 | 0.1894 | 70.7833 | 5.5688 | 1-sigma propagated from slope standard error | Run008_analysis.png | ok
2026-09-19 | 18:32 |  |  |  | 9 | 18:43 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.595 | 11 |  | 12.5 | 1.774 | 2 | 0.024 | 38 | 1.9 | 530 | 107 | 637 | 4.95 | csd_1789868597 | 17.8627 | 49.597 | 2.1392 | 111.257 | 53.112 | 2.3752 | 267.648 | 57.465 | 2.7111 | 180.709 | 63.071 | 3.1638 | 208.213 | 70.749 | 3.8496 | 172.665 | 81.963 | 5.3576 | 102.026 | 100.62 | 8.0287 | Run009.mca | 599.76 | 2026-09-19 18:33 | 10.0033 | 9.84 x 1.0166 | 5070 | 5068 | 1024 |  | 127.5922 | 215.1272 | 166 | 0.38625 | 0.19209 | 0.44095 | -0.013768 | 0.0013552 | 0.013768 | 0.0013552 | -0.6907 | 0.23415 | 72.6313 | 7.1493 | 1-sigma propagated from slope standard error | Run009_analysis.png | ok
2026-09-19 | 18:46 |  |  |  | 10 | 18:56 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.616 | 11 |  | 12.5 | 1.78 | 2 | 0.03 | 38 | 1.91 | 593 | 49 | 642 | 12.1 | csd_1789869352 | 17.8986 | 49.592 | 2.1365 | 110.716 | 53.106 | 2.3723 | 266.761 | 57.459 | 2.7077 | 181.422 | 63.138 | 3.1647 | 205.729 | 70.807 | 3.8559 | 172.317 | 82.011 | 5.3584 | 100.82 | 100.656 | 8.0269 | Run010.mca | 598.68 | 2026-09-19 18:46 | 10.0033 | 9.84 x 1.0166 | 5056 | 5045 | 1024 |  | 131.7855 | 212.5064 | 154 | 0.33814 | 0.18254 | 0.43005 | -0.013043 | 0.0014801 | 0.013043 | 0.0014801 | -0.78772 | 0.25687 | 76.6672 | 8.7 | 1-sigma propagated from slope standard error | Run010_analysis.png | ok
2026-09-19 | 19:00 |  | total power 1150 W |  | 11 | 19:11 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.553 | 11 |  | 12.5 | 2.29 | 2 | 0.024 | 38 | 2.85 | 104 | 1030 | 1134 | 0.1 | csd_1789870244 | 11.1642 | 49.599 | 2.1379 | 87.1659 | 53.114 | 2.3741 | 248.566 | 57.468 | 2.7105 | 181.367 | 63.074 | 3.1635 | 215.811 | 70.753 | 3.8506 | 183.554 | 81.967 | 5.3599 | 102.983 | 100.579 | 8.0273 | Run011.mca | 598.86 | 2026-09-19 19:00 | 10.0033 | 9.84 x 1.0166 | 7526 | 7512 | 1024 |  | 123.3989 | 215.6514 | 177 | 0.45811 | 0.1473 | 0.38598 | -0.013176 | 0.0010833 | 0.013176 | 0.0010833 | -0.38008 | 0.18592 | 75.8951 | 6.2398 | 1-sigma propagated from slope standard error | Run011_analysis.png | ok
2026-09-19 | 19:13 |  |  |  | 12 | 19:23 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.558 | 11 |  | 12.5 | 2.334 | 2 | 0.03 | 37 | 2.6 | 185 | 969 | 1154 | 0.19 | csd_1789871009 | 9.4099 | 49.594 | 2.1393 | 77.8056 | 53.109 | 2.3753 | 232.484 | 57.462 | 2.7111 | 180.918 | 63.068 | 3.1639 | 213.347 | 70.746 | 3.8494 | 189.159 | 81.959 | 5.3576 | 105.57 | 100.615 | 8.0287 | Run012.mca | 599.46 | 2026-09-19 19:13 | 10.0033 | 9.84 x 1.0166 | 8241 | 8234 | 1024 |  | 122.3505 | 205.6923 | 160 | 0.54584 | 0.085052 | 0.29348 | -0.013206 | 0.00095836 | 0.013206 | 0.00095836 | -0.27854 | 0.15889 | 75.7209 | 5.4949 | 1-sigma propagated from slope standard error | Run012_analysis.png | ok
2026-09-19 | 19:27 |  |  |  | 13 | 19:38 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.54 | 11 |  | 12.5 | 2.219 | 2 | 0.028 | 37 | 2.53 | 381 | 779 | 1160 | 0.49 | csd_1789871876 | 4.6947 | 49.595 | 2.1451 | 42.6847 | 53.197 | 2.3868 | 196.264 | 57.383 | 2.7082 | 165.476 | 62.996 | 3.1638 | 190.5 | 70.682 | 3.8417 | 174.919 | 81.905 | 5.3523 | 114.225 | 100.664 | 8.0333 | Run013.mca | 599.46 | 2026-09-19 19:27 | 10.0033 | 9.84 x 1.0166 | 9186 | 9178 | 1024 |  | 125.4955 | 208.8373 | 160 | 0.54124 | 0.074899 | 0.2754 | -0.012279 | 0.00089934 | 0.012279 | 0.00089934 | -0.27464 | 0.15191 | 81.4425 | 5.9652 | 1-sigma propagated from slope standard error | Run013_analysis.png | ok
2026-09-19 | 19:40 |  |  |  | 14 | 19:50 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.534 | 11 |  | 12.5 | 2.143 | 2 | 0.031 | 37 | 2.47 | 491 | 665 | 1156 | 0.74 | csd_1789872609 | 5.1557 | 49.597 | 2.1459 | 53.1087 | 53.112 | 2.3817 | 209.505 | 57.384 | 2.7092 | 163.538 | 62.997 | 3.1651 | 191.215 | 70.684 | 3.8437 | 179.539 | 81.907 | 5.3552 | 124.836 | 100.62 | 8.0312 | Run014.mca | 599.16 | 2026-09-19 19:40 | 10.0033 | 9.84 x 1.0166 | 9778 | 9764 | 1024 |  | 136.5029 | 212.5064 | 146 | 0.49886 | 0.10404 | 0.32478 | -0.014568 | 0.0012167 | 0.014568 | 0.0012167 | 0.18004 | 0.21402 | 68.6448 | 5.7334 | 1-sigma propagated from slope standard error | Run014_analysis.png | ok
2026-09-19 | 19:54 |  |  |  | 15 | 20:04 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.586 | 11 |  | 12.5 | 1.87 | 2 | 0.042 | 34 | 2.38 | 584 | 583 | 1167 | 1 | csd_1789873426 | 11.7487 | 49.595 | 2.1442 | 82.3041 | 53.11 | 2.38 | 234.342 | 57.383 | 2.7075 | 160.291 | 63.069 | 3.168 | 187.774 | 70.682 | 3.8417 | 160.378 | 81.961 | 5.3599 | 114.782 | 100.618 | 8.0289 | Run015.mca | 599.16 | 2026-09-19 19:54 | 10.0033 | 9.84 x 1.0166 | 10110 | 10096 | 1024 |  | 121.3022 | 222.9897 | 195 | 0.57912 | 0.10849 | 0.33109 | -0.013095 | 0.00080356 | 0.013095 | 0.00080356 | -0.10085 | 0.14035 | 76.366 | 4.6862 | 1-sigma propagated from slope standard error | Run015_analysis.png | ok
2026-09-19 | 20:07 |  |  |  | 16 | 20:17 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.591 | 11 |  | 12.5 | 1.81 | 2 | 0.005 | 33 | 2.57 | 764 | 387 | 1151 | 1.97 | csd_1789874208 | 12.9469 | 49.595 | 2.1446 | 86.6217 | 53.11 | 2.3805 | 228.143 | 57.383 | 2.7081 | 154.686 | 63.069 | 3.1687 | 179.794 | 70.682 | 3.8427 | 158.219 | 81.905 | 5.3546 | 114.624 | 100.618 | 8.0313 | Run016.mca | 599.04 | 2026-09-19 20:07 | 10.0033 | 9.84 x 1.0166 | 10186 | 10170 | 1024 |  | 123.3989 | 218.7964 | 183 | 0.53151 | 0.087065 | 0.29669 | -0.01135 | 0.00079207 | 0.01135 | 0.00079207 | -0.34784 | 0.13728 | 88.1033 | 6.1482 | 1-sigma propagated from slope standard error | Run016_analysis.png | ok
2026-09-19 | 20:19 |  |  |  | 17 | 20:31 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.591 | 11 |  | 12.5 | 1.874 | 2 | 0.018 | 33 | 2.5 | 962 | 187 | 1149 | 5.14 | csd_1789875084 | 14.1958 | 49.598 | 2.1446 | 93.6247 | 53.113 | 2.3804 | 239.157 | 57.386 | 2.7081 | 152.529 | 63.073 | 3.1686 | 165.465 | 70.686 | 3.843 | 153.673 | 81.909 | 5.3546 | 115.698 | 100.623 | 8.0313 | Run017.mca | 598.92 | 2026-09-19 20:19 | 10.0033 | 9.84 x 1.0166 | 9844 | 9826 | 1024 |  | 124.4472 | 231.9004 | 206 | 0.62347 | 0.12928 | 0.36131 | -0.014844 | 0.00080763 | 0.014844 | 0.00080763 | 0.1595 | 0.14608 | 67.3695 | 3.6655 | 1-sigma propagated from slope standard error | Run017_analysis.png | ok
2026-09-19 | 20:35 |  |  |  | 18 | 20:45 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.6 | 11 |  | 12.5 | 1.903 | 2 | 0.012 | 33 | 2.5 | 1025 | 129 | 1154 | 7.95 | csd_1789875889 | 15.6194 | 49.597 | 2.1471 | 93.8209 | 53.112 | 2.3825 | 243.654 | 57.384 | 2.7093 | 154.179 | 63.071 | 3.1689 | 165.14 | 70.684 | 3.8415 | 156.527 | 81.907 | 5.3499 | 116.089 | 100.712 | 8.0339 | Run018.mca | 599.22 | 2026-09-19 20:34 | 10.0033 | 9.84 x 1.0166 | 9759 | 9746 | 1024 |  | 121.3022 | 228.7555 | 206 | 0.58437 | 0.12968 | 0.36187 | -0.013699 | 0.00080887 | 0.013699 | 0.00080887 | -0.029944 | 0.1438 | 72.9988 | 4.3103 | 1-sigma propagated from slope standard error | Run018_analysis.png | ok
2026-09-19 | 20:47 |  |  |  | 19 | 20:59 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.616 | 11 |  | 12.5 | 1.823 | 2 | 0.016 | 28 | 2.29 | 1078 | 81 | 1159 | 13.31 | csd_1789876725 | 22.5639 | 49.595 | 2.1368 | 120.101 | 53.11 | 2.3727 | 277.832 | 57.463 | 2.7083 | 187.461 | 63.143 | 3.1653 | 204.795 | 70.813 | 3.8574 | 179.535 | 81.961 | 5.3531 | 113.278 | 100.664 | 8.0293 | Run019.mca | 599.1 | 2026-09-19 20:47 | 10.0033 | 9.84 x 1.0166 | 9308 | 9294 | 1024 |  | 124.4472 | 216.1756 | 176 | 0.5213 | 0.12452 | 0.3549 | -0.013828 | 0.0010045 | 0.013828 | 0.0010045 | -0.051116 | 0.17316 | 72.3184 | 5.2537 | 1-sigma propagated from slope standard error | Run019_analysis.png | ok
2026-09-19 | 21:00 |  |  |  | 20 | 21:10 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.651 | 11 |  | 12.5 | 1.849 | 2 | 0.017 | 28 | 2.38 | 1100 | 55 | 1155 | 20 | csd_1789877421 | 16.3258 | 49.595 | 2.1389 | 107.305 | 53.11 | 2.3748 | 266.143 | 57.463 | 2.7105 | 186.701 | 63.069 | 3.1631 | 237.166 | 70.747 | 3.8485 | 190.882 | 82.017 | 5.3629 | 110.569 | 100.618 | 8.0263 | Run020.mca | 598.92 | 2026-09-19 21:00 | 10.0033 | 9.84 x 1.0166 | 8903 | 8887 | 1024 |  | 126.5438 | 219.3205 | 178 | 0.48212 | 0.15249 | 0.39271 | -0.013989 | 0.0010929 | 0.013989 | 0.0010929 | -0.056565 | 0.19127 | 71.4833 | 5.5845 | 1-sigma propagated from slope standard error | Run020_analysis.png | ok
2026-09-19 | 21:14 |  | total power 1350 W |  | 21 | 21:24 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.601 | 11 |  | 12.5 | 2.15 | 2 | 0.019 | 34 | 2.66 | 123 | 1211 | 1334 | 0.1 | csd_1789878220 | 6.9075 | 49.595 | 2.1397 | 63.0392 | 53.11 | 2.3758 | 227.995 | 57.463 | 2.7117 | 203.133 | 63.069 | 3.1646 | 216.115 | 70.747 | 3.8505 | 206.525 | 81.905 | 5.3523 | 127.829 | 100.618 | 8.0311 | Run021.mca | 599.22 | 2026-09-19 21:14 | 10.0033 | 9.84 x 1.0166 | 9135 | 9123 | 1024 |  | 123.3989 | 216.6997 | 179 | 0.5097 | 0.16055 | 0.40295 | -0.015084 | 0.001112 | 0.015084 | 0.001112 | 0.083507 | 0.19148 | 66.2953 | 4.8873 | 1-sigma propagated from slope standard error | Run021_analysis.png | ok
2026-09-19 | 21:25 |  |  |  | 22 | 21:36 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.6 | 11 |  | 12.5 | 2.44 | 2 | 0.016 | 37 | 2.85 | 223 | 1142 | 1365 | 0.2 | csd_1789878946 | 4.7298 | 49.597 | 2.1446 | 53.1067 | 53.112 | 2.3807 | 221.28 | 57.384 | 2.7086 | 179.417 | 62.997 | 3.165 | 209.208 | 70.684 | 3.8444 | 187.542 | 81.907 | 5.3575 | 114.15 | 100.574 | 8.0298 | Run022.mca | 598.8 | 2026-09-19 21:25 | 10.0033 | 9.84 x 1.0166 | 10104 | 10084 | 1024 |  | 127.068 | 231.9004 | 201 | 0.57223 | 0.12423 | 0.35423 | -0.013404 | 0.00082152 | 0.013404 | 0.00082152 | -0.019036 | 0.14955 | 74.6063 | 4.5726 | 1-sigma propagated from slope standard error | Run022_analysis.png | ok
2026-09-19 | 21:38 |  |  |  | 23 | 21:49 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.677 | 11 |  | 12.5 | 2.15 | 2 | 0.018 | 29 | 2.03 | 452 | 911 | 1363 | 0.5 | csd_1789879715 | 5.278 | 49.597 | 2.1459 | 57.4545 | 53.112 | 2.3817 | 218.795 | 57.384 | 2.7092 | 175.37 | 62.997 | 3.1651 | 218.714 | 70.684 | 3.8437 | 198.075 | 81.907 | 5.3552 | 115.507 | 100.62 | 8.0312 | Run023.mca | 599.4 | 2026-09-19 21:38 | 10.0033 | 9.84 x 1.0166 | 11237 | 11226 | 1024 |  | 122.3505 | 225.6105 | 198 | 0.58138 | 0.094901 | 0.30963 | -0.012118 | 0.00073447 | 0.012118 | 0.00073447 | -0.11814 | 0.12966 | 82.5243 | 5.0019 | 1-sigma propagated from slope standard error | Run023_analysis.png | ok
2026-09-19 | 21:51 |  |  |  | 24 | 22:02 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.691 | 11 |  | 12.5 | 2.06 | 2 | 0.018 | 29 | 2.06 | 577 | 778 | 1355 | 0.74 | csd_1789880522 | 6.8003 | 49.69 | 2.1508 | 63.8917 | 53.112 | 2.3807 | 238.815 | 57.384 | 2.7086 | 191.279 | 62.997 | 3.165 | 213.521 | 70.684 | 3.8444 | 197.947 | 81.907 | 5.3575 | 115.537 | 100.574 | 8.0298 | Run024.mca | 598.92 | 2026-09-19 21:51 | 10.0033 | 9.84 x 1.0166 | 11678 | 11657 | 1024 |  | 126.5438 | 217.2239 | 174 | 0.57562 | 0.088694 | 0.29954 | -0.013174 | 0.00086251 | 0.013174 | 0.00086251 | 0.10343 | 0.14998 | 75.906 | 4.9696 | 1-sigma propagated from slope standard error | Run024_analysis.png | ok
2026-09-19 | 22:04 |  |  |  | 25 | 22:14 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.674 | 11 |  | 12.5 | 2.112 | 2 | 0.02 | 34 | 2.6 | 670 | 677 | 1347 | 0.99 | csd_1789881270 | 12.2045 | 49.597 | 2.1446 | 89.9522 | 53.112 | 2.3807 | 253.918 | 57.384 | 2.7086 | 171.061 | 62.997 | 3.165 | 193.372 | 70.684 | 3.8444 | 171.882 | 81.907 | 5.3575 | 114.365 | 100.574 | 8.0298 | Run025.mca | 598.98 | 2026-09-19 22:04 | 10.0033 | 9.84 x 1.0166 | 11886 | 11866 | 1024 |  | 124.9714 | 219.8447 | 182 | 0.58307 | 0.08799 | 0.29827 | -0.012738 | 0.00080286 | 0.012738 | 0.00080286 | 0.044259 | 0.14017 | 78.5044 | 4.948 | 1-sigma propagated from slope standard error | Run025_analysis.png | ok
2026-09-19 | 22:19 |  |  |  | 26 | 22:31 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.658 | 11 |  | 12.5 | 2.11 | 2 | 0.028 | 37 | 2.9 | 903 | 452 | 1355 | 2 | csd_1789882267 | 15.2338 | 49.595 | 2.1421 | 100.216 | 53.11 | 2.3783 | 261.787 | 57.383 | 2.7063 | 168.089 | 62.996 | 3.1629 | 192.664 | 70.747 | 3.8535 | 167.926 | 81.905 | 5.356 | 112.367 | 100.572 | 8.029 | Run026.mca | 599.34 | 2026-09-19 22:19 | 10.0033 | 9.84 x 1.0166 | 12223 | 12210 | 1024 |  | 124.4472 | 225.0863 | 193 | 0.66157 | 0.087039 | 0.29656 | -0.014125 | 0.00073099 | 0.014125 | 0.00073099 | 0.2988 | 0.12952 | 70.7965 | 3.6638 | 1-sigma propagated from slope standard error | Run026_analysis.png | ok
2026-09-19 | 22:34 |  |  |  | 27 | 22:44 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.651 | 11 |  | 12.5 | 1.95 | 2 | 0.025 | 33 | 3.03 | 1125 | 224 | 1349 | 5.02 | csd_1789883052 | 18.2119 | 49.599 | 2.142 | 103.996 | 53.114 | 2.3782 | 262.586 | 57.387 | 2.7063 | 163.918 | 63.001 | 3.1627 | 186.709 | 70.753 | 3.854 | 162.574 | 81.911 | 5.3559 | 111.523 | 100.579 | 8.029 | Run027.mca | 598.98 | 2026-09-19 22:34 | 10.0033 | 9.84 x 1.0166 | 11762 | 11742 | 1024 |  | 131.7855 | 231.3763 | 191 | 0.63893 | 0.12645 | 0.35747 | -0.016367 | 0.00089499 | 0.016367 | 0.00089499 | 0.6555 | 0.16456 | 61.0975 | 3.3409 | 1-sigma propagated from slope standard error | Run027_analysis.png | ok
2026-09-19 | 22:46 |  |  |  | 28 | 22:57 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.666 | 11 |  | 12.5 | 2 | 2 | 0.02 | 33 | 2.88 | 1210 | 150 | 1360 | 8.07 | csd_1789883809 | 17.1885 | 49.597 | 2.1422 | 102.413 | 53.112 | 2.3781 | 261.175 | 57.384 | 2.7058 | 163.648 | 63.071 | 3.1665 | 184.708 | 70.749 | 3.8522 | 162.436 | 81.907 | 5.3531 | 112.805 | 100.62 | 8.0304 | Run028.mca | 599.22 | 2026-09-19 22:46 | 10.0033 | 9.84 x 1.0166 | 11032 | 11018 | 1024 |  | 126.5438 | 225.6105 | 190 | 0.60017 | 0.097147 | 0.31334 | -0.013283 | 0.0007907 | 0.013283 | 0.0007907 | 0.062477 | 0.14107 | 75.2846 | 4.4815 | 1-sigma propagated from slope standard error | Run028_analysis.png | ok
2026-09-19 | 22:58 |  |  |  | 29 | 23:09 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.657 | 11 |  | 12.5 | 1.983 | 2 | 0.011 | 33 | 2.82 | 1259 | 90 | 1349 | 13.99 | csd_1789884536 | 19.2262 | 49.597 | 2.138 | 125.911 | 53.112 | 2.3741 | 297.136 | 57.465 | 2.71 | 191.823 | 63.144 | 3.1673 | 201.512 | 70.749 | 3.8487 | 185.921 | 81.963 | 5.3571 | 116.314 | 100.62 | 8.0288 | Run029.mca | 599.28 | 2026-09-19 22:58 | 10.0033 | 9.84 x 1.0166 | 10883 | 10870 | 1024 |  | 123.3989 | 228.7555 | 202 | 0.61561 | 0.1386 | 0.37415 | -0.015414 | 0.00086128 | 0.015414 | 0.00086128 | 0.36488 | 0.15392 | 64.8741 | 3.6248 | 1-sigma propagated from slope standard error | Run029_analysis.png | ok
2026-09-19 | 23:10 |  |  |  | 30 | 23:20 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.656 | 11 |  | 12.5 | 1.993 | 2 | 0.02 | 33 | 2.78 | 1274 | 65 | 1339 | 19.6 | csd_1789885209 | 17.4707 | 49.595 | 2.1393 | 116.994 | 53.11 | 2.3751 | 293.433 | 57.463 | 2.7106 | 193.718 | 63.143 | 3.1675 | 202.825 | 70.747 | 3.8479 | 181.126 | 81.961 | 5.3547 | 112.253 | 100.664 | 8.0301 | Run030.mca | 599.88 | 2026-09-19 23:10 | 10.0033 | 9.84 x 1.0166 | 10384 | 10382 | 1024 |  | 121.8264 | 215.1272 | 179 | 0.60299 | 0.071897 | 0.26965 | -0.012201 | 0.00074413 | 0.012201 | 0.00074413 | -0.19365 | 0.12698 | 81.9618 | 4.9989 | 1-sigma propagated from slope standard error | Run030_analysis.png | ok
2026-09-19 | 23:23 |  | total power 1850 W |  | 31 | 23:39 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.676 | 11 |  | 12.5 | 2.1 | 2 | 0.018 | 30 | 2.63 | 171 | 1661 | 1832 | 0.1 | csd_1789886313 | 9.5398 | 49.598 | 2.1409 | 80.4281 | 53.113 | 2.3767 | 241.472 | 57.466 | 2.7123 | 168.259 | 63.073 | 3.1646 | 190.305 | 70.751 | 3.8501 | 169.404 | 81.909 | 5.3499 | 111.834 | 100.669 | 8.0324 | Run031.mca | 599.04 | 2026-09-19 23:23 | 10.0033 | 9.84 x 1.0166 | 12502 | 12482 | 1024 |  | 124.9714 | 219.3205 | 181 | 0.68384 | 0.062727 | 0.25185 | -0.013449 | 0.00068353 | 0.013449 | 0.00068353 | 0.21557 | 0.11915 | 74.3524 | 3.7787 | 1-sigma propagated from slope standard error | Run031_analysis.png | ok
2026-09-19 | 23:40 |  |  |  | 32 | 23:54 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.72 | 11 |  | 12.5 | 2.15 | 2 | 0.014 | 27 | 1.97 | 308 | 1565 | 1873 | 0.2 | csd_1789887232 | 7.6649 | 49.691 | 2.1479 | 66.242 | 53.113 | 2.3772 | 218.885 | 57.466 | 2.7123 | 158.466 | 63.073 | 3.1639 | 185.292 | 70.751 | 3.8484 | 172.873 | 81.965 | 5.3528 | 120.633 | 100.715 | 8.0314 | Run032.mca | 599.34 | 2026-09-19 23:40 | 10.0033 | 9.84 x 1.0166 | 14050 | 14035 | 1024 |  | 118.6814 | 217.2239 | 189 | 0.62576 | 0.080297 | 0.28488 | -0.012813 | 0.0007246 | 0.012813 | 0.0007246 | 0.19143 | 0.12345 | 78.0454 | 4.4136 | 1-sigma propagated from slope standard error | Run032_analysis.png | ok
2026-09-19 | 23:59 |  |  |  | 33 | 0:10 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.716 | 11 |  | 12.5 | 1.96 | 2 | 0.016 | 27 | 1.91 | 611 | 1250 | 1861 | 0.49 | csd_1789888218 | 8.8431 | 49.597 | 2.1425 | 70.6963 | 53.024 | 2.3726 | 244.995 | 57.384 | 2.7068 | 190.385 | 62.997 | 3.1635 | 213.794 | 70.749 | 3.8546 | 187.126 | 81.963 | 5.3641 | 101.893 | 100.528 | 8.0244 | Run033.mca | 599.34 | 2026-09-19 23:58 | 10.0033 | 9.84 x 1.0166 | 15303 | 15286 | 1024 |  | 121.3022 | 210.4098 | 171 | 0.64703 | 0.050265 | 0.22552 | -0.011732 | 0.00066654 | 0.011732 | 0.00066654 | 0.12367 | 0.11189 | 85.2385 | 4.8428 | 1-sigma propagated from slope standard error | Run033_analysis.png | ok
2026-09-20 | 0:12 |  |  |  | 34 | 0:24 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.648 | 11 |  | 12.5 | 2.2 | 2 | 0.019 | 35 | 2.94 | 789 | 1075 | 1864 | 0.73 | csd_1789889059 | 7.5257 | 49.598 | 2.144 | 68.0174 | 53.026 | 2.3743 | 240.962 | 57.386 | 2.7086 | 184.196 | 63.073 | 3.1699 | 217.089 | 70.686 | 3.8455 | 195.801 | 81.909 | 5.3598 | 106.759 | 100.531 | 8.0278 | Run034.mca | 599.76 | 2026-09-20 00:12 | 10.0033 | 9.84 x 1.0166 | 16193 | 16187 | 1024 |  | 120.2539 | 227.183 | 205 | 0.67599 | 0.062476 | 0.25118 | -0.011639 | 0.00056557 | 0.011639 | 0.00056557 | 0.1795 | 0.099804 | 85.9169 | 4.1749 | 1-sigma propagated from slope standard error | Run034_analysis.png | ok
2026-09-20 | 0:26 |  |  |  | 35 | 0:37 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.636 | 11 |  | 12.5 | 2.1 | 2 | 0.014 | 35 | 3.03 | 923 | 937 | 1860 | 0.99 | csd_1789889826 | 4.1455 | 49.501 | 2.1409 | 42.2037 | 53.022 | 2.3772 | 203.614 | 57.381 | 2.7109 | 166.356 | 62.994 | 3.1674 | 192.789 | 70.68 | 3.8463 | 181.62 | 81.846 | 5.3527 | 110.381 | 100.569 | 8.0315 | Run035.mca | 599.22 | 2026-09-20 00:26 | 10.0033 | 9.84 x 1.0166 | 16619 | 16598 | 1024 |  | 125.4955 | 238.1904 | 216 | 0.69598 | 0.075106 | 0.27533 | -0.012687 | 0.0005732 | 0.012687 | 0.0005732 | 0.39353 | 0.1059 | 78.8203 | 3.5611 | 1-sigma propagated from slope standard error | Run035_analysis.png | ok
2026-09-20 | 0:39 |  |  |  | 36 | 0:50 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.651 | 11 |  | 12.5 | 2.2 | 2 | 0.015 | 35 | 3.03 | 1220 | 625 | 1845 | 1.95 | csd_1789890603 | 13.8627 | 49.598 | 2.1458 | 90.7323 | 53.113 | 2.3816 | 253.442 | 57.386 | 2.7092 | 162.648 | 62.999 | 3.165 | 177.865 | 70.686 | 3.8438 | 159.606 | 81.909 | 5.3551 | 117.991 | 100.623 | 8.0312 | Run036.mca | 599.46 | 2026-09-20 00:39 | 10.0033 | 9.84 x 1.0166 | 16814 | 16799 | 1024 |  | 123.3989 | 238.7145 | 221 | 0.74579 | 0.067746 | 0.26147 | -0.013332 | 0.00052596 | 0.013332 | 0.00052596 | 0.49998 | 0.09684 | 75.0088 | 2.9592 | 1-sigma propagated from slope standard error | Run036_analysis.png | ok
2026-09-20 | 0:51 |  |  |  | 37 | 1:02 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.688 | 11 |  | 12.5 | 1.861 | 2 | 0.009 | 27 | 3.03 | 1553 | 313 | 1866 | 4.96 | csd_1789891304 | 25.297 | 49.597 | 2.1393 | 118.847 | 53.112 | 2.3751 | 253.981 | 57.465 | 2.7107 | 143.166 | 63.144 | 3.1674 | 142.194 | 70.749 | 3.8481 | 135.854 | 81.963 | 5.3547 | 117.733 | 100.666 | 8.0301 | Run037.mca | 599.04 | 2026-09-20 00:51 | 10.0033 | 9.84 x 1.0166 | 15317 | 15292 | 1024 |  | 119.7297 | 220.3689 | 193 | 0.64572 | 0.0968 | 0.31275 | -0.014383 | 0.00077089 | 0.014383 | 0.00077089 | 0.55228 | 0.13301 | 69.525 | 3.7263 | 1-sigma propagated from slope standard error | Run037_analysis.png | ok
2026-09-20 | 1:05 |  |  |  | 38 | 1:15 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.706 | 11 |  | 12.5 | 1.96 | 2 | 0.013 | 22 | 1.28 | 1650 | 206 | 1856 | 8.01 | csd_1789892112 | 28.7503 | 49.597 | 2.1409 | 129.608 | 53.112 | 2.3767 | 257.191 | 57.465 | 2.7124 | 140.125 | 63.071 | 3.1646 | 143.83 | 70.749 | 3.8499 | 134.942 | 81.907 | 5.3499 | 116.273 | 100.666 | 8.0324 | Run038.mca | 599.64 | 2026-09-20 01:05 | 10.0033 | 9.84 x 1.0166 | 14729 | 14720 | 1024 |  | 124.9714 | 227.7071 | 197 | 0.55576 | 0.13271 | 0.36616 | -0.01367 | 0.0008752 | 0.01367 | 0.0008752 | 0.3855 | 0.15652 | 73.1543 | 4.6837 | 1-sigma propagated from slope standard error | Run038_analysis.png | ok
2026-09-20 | 1:17 |  |  |  | 39 | 1:28 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.708 | 11 |  | 12.5 | 1.956 | 2 | 0.023 | 22 | 1.19 | 1724 | 130 | 1854 | 13.26 | csd_1789892871 | 29.0975 | 49.595 | 2.138 | 134.184 | 53.11 | 2.3741 | 257.486 | 57.463 | 2.71 | 142.771 | 63.143 | 3.1674 | 144.722 | 70.747 | 3.8486 | 138.523 | 81.961 | 5.3571 | 121.298 | 100.618 | 8.0288 | Run039.mca | 598.86 | 2026-09-20 01:17 | 10.0033 | 9.84 x 1.0166 | 14184 | 14157 | 1024 |  | 120.7781 | 220.3689 | 191 | 0.66502 | 0.087521 | 0.2974 | -0.014423 | 0.0007446 | 0.014423 | 0.0007446 | 0.45451 | 0.12882 | 69.332 | 3.5792 | 1-sigma propagated from slope standard error | Run039_analysis.png | ok
2026-09-20 | 1:30 |  |  |  | 40 | 1:40 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.724 | 11 |  | 12.5 | 1.985 | 2 | 0.014 | 22 | 1.22 | 1766 | 90 | 1856 | 19.62 | csd_1789893581 | 1.2144 | 49.592 | 2.1513 | 15.223 | 53.019 | 2.3813 | 86.7032 | 57.378 | 2.715 | 97.0098 | 62.918 | 3.167 | 121.308 | 70.611 | 3.8385 | 150.735 | 81.785 | 5.3495 | 155.05 | 100.564 | 8.0347 | Run040.mca | 599.04 | 2026-09-20 01:30 | 10.0033 | 9.84 x 1.0166 | 13398 | 13377 | 1024 |  | 125.4955 | 225.0863 | 191 | 0.67659 | 0.084472 | 0.29218 | -0.014546 | 0.00073152 | 0.014546 | 0.00073152 | 0.42825 | 0.12996 | 68.748 | 3.4574 | 1-sigma propagated from slope standard error | Run040_analysis.png | ok
2026-09-20 | 13:14 |  | total power 2500 W |  | 41 | 13:24 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.942 | 10.5 |  | 12.5 | 1.498 | 2 | 0 | 20 | 1.31 | 830 | 1640 | 2470 | 0.51 | csd_1789935832 | 12.8814 | 49.69 | 2.1504 | 91.5916 | 53.112 | 2.3802 | 269.72 | 57.384 | 2.708 | 219.131 | 62.997 | 3.1642 | 219.106 | 70.684 | 3.8434 | 201.414 | 81.963 | 5.3628 | 100.553 | 100.574 | 8.0274 | Run041.mca | 599.64 | 2026-09-20 13:14 | 10.0033 | 9.84 x 1.0166 | 20934 | 20921 | 1024 |  | 129.6888 | 217.748 | 169 | 0.71417 | 0.040471 | 0.20238 | -0.012436 | 0.00060878 | 0.012436 | 0.00060878 | 0.60309 | 0.1069 | 80.4142 | 3.9366 | 1-sigma propagated from slope standard error | Run041_analysis.png | ok
2026-09-20 | 13:26 |  |  |  | 42 | 13:37 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.808 | 10.5 |  | 12.5 | 2.27 | 2 | 0.008 | 31 | 2.41 | 1072 | 1456 | 2528 | 0.74 | csd_1789936616 | 9.1208 | 49.597 | 2.1453 | 73.9876 | 53.024 | 2.3755 | 255.515 | 57.384 | 2.7097 | 188.719 | 62.997 | 3.1664 | 208.597 | 70.684 | 3.8462 | 183.533 | 81.907 | 5.3604 | 104.904 | 100.528 | 8.0277 | Run042.mca | 599.22 | 2026-09-20 13:26 | 10.0033 | 9.84 x 1.0166 | 22381 | 22352 | 1024 |  | 122.3505 | 239.7629 | 225 | 0.78728 | 0.057379 | 0.24061 | -0.013536 | 0.00047116 | 0.013536 | 0.00047116 | 0.83336 | 0.086802 | 73.878 | 2.5716 | 1-sigma propagated from slope standard error | Run042_analysis.png | ok
2026-09-20 | 13:41 |  |  |  | 43 | 13:51 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.748 | 10.5 |  | 12.5 | 2.13 | 2 | -0.005 | 31 | 2.57 | 1246 | 1261 | 2507 | 0.99 | csd_1789937476 | 7.3529 | 49.503 | 2.1403 | 65.1606 | 53.024 | 2.3769 | 234.421 | 57.303 | 2.7031 | 174.799 | 62.997 | 3.1683 | 196.717 | 70.684 | 3.8485 | 165.884 | 81.907 | 5.3636 | 104.496 | 100.482 | 8.0257 | Run043.mca | 599.34 | 2026-09-20 13:41 | 10.0033 | 9.84 x 1.0166 | 22587 | 22562 | 1024 |  | 124.4472 | 232.9488 | 208 | 0.70892 | 0.063389 | 0.25299 | -0.012484 | 0.00055737 | 0.012484 | 0.00055737 | 0.67049 | 0.10113 | 80.1009 | 3.5761 | 1-sigma propagated from slope standard error | Run043_analysis.png | ok
2026-09-20 | 13:55 |  |  |  | 44 | 14:06 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.75 | 10.5 |  | 12.5 | 1.988 | 2 | -0.004 | 31 | 2.94 | 1661 | 844 | 2505 | 1.97 | csd_1789938376 | 12.3139 | 49.503 | 2.1403 | 82.1205 | 53.024 | 2.3767 | 251.204 | 57.384 | 2.7108 | 162.947 | 62.924 | 3.1629 | 173.062 | 70.684 | 3.8471 | 157.772 | 81.907 | 5.3609 | 114.446 | 100.528 | 8.0276 | Run044.mca | 598.8 | 2026-09-20 13:55 | 10.0033 | 9.84 x 1.0166 | 21981 | 21937 | 1024 |  | 128.6405 | 236.6179 | 207 | 0.72169 | 0.062534 | 0.25128 | -0.012857 | 0.00055762 | 0.012857 | 0.00055762 | 0.69563 | 0.10332 | 77.7802 | 3.3735 | 1-sigma propagated from slope standard error | Run044_analysis.png | ok
2026-09-20 | 14:09 |  |  |  | 45 | 14:32 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.77 | 10.5 |  | 12.5 | 1.854 | 2 | -0.004 | 28 | 3.25 | 2084 | 421 | 2505 | 4.95 | csd_1789939937 | 16.2568 | 49.502 | 2.1433 | 100.532 | 53.023 | 2.3795 | 255.532 | 57.383 | 2.7133 | 161.137 | 62.996 | 3.1696 | 168.857 | 70.616 | 3.8369 | 160.504 | 81.848 | 5.3542 | 117.285 | 100.572 | 8.0324 | Run045.mca | 599.58 | 2026-09-20 14:09 | 10.0033 | 9.84 x 1.0166 | 20307 | 20294 | 1024 |  | 120.2539 | 228.7555 | 208 | 0.718 | 0.062193 | 0.25059 | -0.012644 | 0.00055208 | 0.012644 | 0.00055208 | 0.56257 | 0.097895 | 79.0898 | 3.4534 | 1-sigma propagated from slope standard error | Run045_analysis.png | ok
2026-09-20 | 14:35 |  |  |  | 46 | 14:45 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.778 | 10.5 |  | 12.5 | 1.93 | 2 | -0.003 | 28 | 3.16 | 2214 | 280 | 2494 | 7.91 | csd_1789940692 | 26.8084 | 49.503 | 2.1375 | 124.653 | 53.024 | 2.3736 | 242.894 | 57.384 | 2.7074 | 134.903 | 62.997 | 3.1636 | 140.122 | 70.749 | 3.8539 | 135.446 | 81.963 | 5.3617 | 110.241 | 100.574 | 8.0258 | Run046.mca | 599.1 | 2026-09-20 14:35 | 10.0033 | 9.84 x 1.0166 | 19189 | 19160 | 1024 |  | 123.3989 | 235.0454 | 214 | 0.76818 | 0.054091 | 0.23367 | -0.013075 | 0.0004933 | 0.013075 | 0.0004933 | 0.59209 | 0.089841 | 76.4837 | 2.8857 | 1-sigma propagated from slope standard error | Run046_analysis.png | ok
2026-09-20 | 17:07 |  |  |  | 47 | 17:18 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.749 | 10.5 |  | 12.5 | 1.975 | 2 | -0.001 | 23 | 1.5 | 2373 | 120 | 2493 | 19.78 | csd_1789949851 | 32.9601 | 49.503 | 2.1384 | 133.576 | 53.112 | 2.3805 | 243.225 | 57.384 | 2.7081 | 132.138 | 63.071 | 3.1687 | 135.655 | 70.684 | 3.8428 | 132.845 | 81.907 | 5.3546 | 107.345 | 100.62 | 8.0313 | Run047.mca | 599.4 | 2026-09-20 17:07 | 10.0033 | 9.84 x 1.0166 | 17754 | 17737 | 1024 |  | 124.9714 | 229.2796 | 200 | 0.77525 | 0.060363 | 0.24693 | -0.015078 | 0.00057697 | 0.015078 | 0.00057697 | 0.83108 | 0.10368 | 66.3202 | 2.5377 | 1-sigma propagated from slope standard error | Run047_analysis.png | ok
2026-09-20 | 17:19 |  |  |  | 48 | 17:30 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.73 | 10.5 |  | 12.5 | 1.919 | 2 | 0.003 | 23 | 1.85 | 2329 | 175 | 2504 | 13.31 | csd_1789950602 | 26.9046 | 49.502 | 2.1417 | 122.051 | 53.023 | 2.3776 | 238.119 | 57.383 | 2.711 | 135.504 | 62.996 | 3.1667 | 137.494 | 70.682 | 3.8447 | 135.245 | 81.905 | 5.3556 | 109.877 | 100.618 | 8.0304 | Run048.mca | 598.74 | 2026-09-20 17:19 | 10.0033 | 9.84 x 1.0166 | 18190 | 18152 | 1024 |  | 128.6405 | 244.4803 | 222 | 0.78588 | 0.059904 | 0.24586 | -0.013959 | 0.00049124 | 0.013959 | 0.00049124 | 0.69349 | 0.093119 | 71.6376 | 2.521 | 1-sigma propagated from slope standard error | Run048_analysis.png | ok
2026-09-20 | 17:39 |  | total power 3600 W |  | 49 | 17:50 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.769 | 10.5 |  | 12.5 | 2.093 | 2 | 0.011 | 28 | 2.47 | 1796 | 1773 | 3569 | 1.01 | csd_1789951803 | 17.5711 | 49.595 | 2.1393 | 113.039 | 53.11 | 2.3753 | 259.83 | 57.463 | 2.7111 | 172.343 | 63.069 | 3.1638 | 190.462 | 70.747 | 3.8495 | 168.06 | 81.961 | 5.3576 | 103.141 | 100.618 | 8.0287 | Run049.mca | 599.22 | 2026-09-20 17:38 | 10.0033 | 9.84 x 1.0166 | 31499 | 31460 | 1024 |  | 124.4472 | 245.5286 | 232 | 0.84294 | 0.038269 | 0.19647 | -0.01291 | 0.00036745 | 0.01291 | 0.00036745 | 1.0847 | 0.069188 | 77.4588 | 2.2047 | 1-sigma propagated from slope standard error | Run049_analysis.png | ok
2026-09-20 | 17:56 |  |  |  | 50 | 18:07 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.721 | 10.5 |  | 12.5 | 2.112 | 2 | 0.001 | 29 | 2.31 | 2398 | 1218 | 3616 | 1.97 | csd_1789952795 | 12.455 | 49.597 | 2.1466 | 85.2692 | 53.024 | 2.3765 | 245.405 | 57.384 | 2.7103 | 162.776 | 62.997 | 3.1665 | 176.542 | 70.684 | 3.8456 | 161.64 | 81.907 | 5.358 | 106.609 | 100.574 | 8.0291 | Run050.mca | 598.98 | 2026-09-20 17:56 | 10.0033 | 9.84 x 1.0166 | 32252 | 32198 | 1024 |  | 130.7371 | 250.7703 | 230 | 0.79743 | 0.055597 | 0.23682 | -0.013443 | 0.0004487 | 0.013443 | 0.0004487 | 1.221 | 0.087004 | 74.3897 | 2.483 | 1-sigma propagated from slope standard error | Run050_analysis.png | ok
2026-09-20 | 18:09 |  |  |  | 51 | 18:20 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.718 | 10.5 |  | 12.5 | 2.1 | 2 | 0.001 | 30 | 1.56 | 3012 | 608 | 3620 | 4.95 | csd_1789953586 | 20.1609 | 49.503 | 2.14 | 111.816 | 53.024 | 2.3759 | 251.168 | 57.384 | 2.7092 | 152.019 | 63.071 | 3.1694 | 160.577 | 70.684 | 3.843 | 156.975 | 81.963 | 5.3604 | 116.142 | 100.62 | 8.0281 | Run051.mca | 599.1 | 2026-09-20 18:09 | 10.0033 | 9.84 x 1.0166 | 30586 | 30541 | 1024 |  | 129.6888 | 263.3502 | 256 | 0.84434 | 0.060388 | 0.24671 | -0.014775 | 0.00039806 | 0.014775 | 0.00039806 | 1.396 | 0.079732 | 67.6808 | 1.8234 | 1-sigma propagated from slope standard error | Run051_analysis.png | ok
2026-09-20 | 18:21 |  |  |  | 52 | 18:33 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.692 | 10.5 |  | 12.5 | 2.038 | 2 | -0.001 | 30 | 1.35 | 3194 | 402 | 3596 | 7.95 | csd_1789954351 | 25.3789 | 49.499 | 2.1355 | 120.678 | 53.02 | 2.3721 | 251.097 | 57.38 | 2.7063 | 143.827 | 63.066 | 3.168 | 157.269 | 70.744 | 3.8544 | 149.607 | 81.9 | 5.3582 | 113.491 | 100.521 | 8.027 | Run052.mca | 599.22 | 2026-09-20 18:21 | 10.0033 | 9.84 x 1.0166 | 29218 | 29181 | 1024 |  | 128.6405 | 254.9636 | 242 | 0.79751 | 0.071282 | 0.2681 | -0.01447 | 0.00047065 | 0.01447 | 0.00047065 | 1.2765 | 0.091902 | 69.1079 | 2.2478 | 1-sigma propagated from slope standard error | Run052_analysis.png | ok
2026-09-20 | 18:34 |  |  |  | 53 | 18:45 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.696 | 10.5 |  | 12.5 | 2.08 | 2 | 0.001 | 33 | 1.38 | 3339 | 253 | 3592 | 13.2 | csd_1789955111 | 25.3104 | 49.501 | 2.1388 | 120.326 | 53.022 | 2.375 | 253.767 | 57.381 | 2.7086 | 146.366 | 63.068 | 3.1695 | 153.691 | 70.68 | 3.8434 | 147.263 | 81.959 | 5.3628 | 113.969 | 100.569 | 8.0268 | Run053.mca | 599.22 | 2026-09-20 18:34 | 10.0033 | 9.84 x 1.0166 | 28844 | 28806 | 1024 |  | 121.8264 | 253.9152 | 253 | 0.81478 | 0.061813 | 0.24961 | -0.013621 | 0.00040993 | 0.013621 | 0.00040993 | 1.0732 | 0.078597 | 73.4135 | 2.2093 | 1-sigma propagated from slope standard error | Run053_analysis.png | ok
2026-09-20 | 18:48 |  |  |  | 54 | 18:58 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.68 | 10.5 |  | 12.5 | 2.234 | 2 | 0.003 | 33 | 1.72 | 3425 | 171 | 3596 | 20.03 | csd_1789955863 | 45.5205 | 49.502 | 2.1338 | 174.488 | 53.023 | 2.3702 | 281.902 | 57.463 | 2.7122 | 146.19 | 63.069 | 3.1653 | 150.4 | 70.747 | 3.8513 | 135.701 | 81.961 | 5.3604 | 97.9565 | 100.572 | 8.0266 | Run054.mca | 599.04 | 2026-09-20 18:48 | 10.0033 | 9.84 x 1.0166 | 27640 | 27595 | 1024 |  | 125.4955 | 245.0045 | 229 | 0.83577 | 0.05212 | 0.2293 | -0.014863 | 0.0004373 | 0.014863 | 0.0004373 | 1.2482 | 0.082415 | 67.2812 | 1.9796 | 1-sigma propagated from slope standard error | Run054_analysis.png | ok
2026-09-20 | 19:02 |  | total power 5200 W |  | 55 | 19:12 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.766 | 10.5 |  | 12.5 | 1.802 | 2 | 0 | 23 | 1.66 | 3468 | 1708 | 5176 | 2.03 | csd_1789956731 | 13.8675 | 49.502 | 2.1392 | 87.827 | 53.023 | 2.3754 | 206.499 | 57.383 | 2.7092 | 135.811 | 63.069 | 3.1701 | 149.217 | 70.682 | 3.8445 | 143.626 | 81.905 | 5.3575 | 123.921 | 100.572 | 8.0292 | Run055.mca | 599.16 | 2026-09-20 19:02 | 10.0033 | 9.84 x 1.0166 | 47410 | 47346 | 1024 |  | 126.5438 | 246.0528 | 229 | 0.88832 | 0.02624 | 0.1627 | -0.013185 | 0.00031029 | 0.013185 | 0.00031029 | 1.5522 | 0.058797 | 75.8443 | 1.7849 | 1-sigma propagated from slope standard error | Run055_analysis.png | ok
2026-09-20 | 19:16 |  |  |  | 56 | 20:05 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.827 | 10.5 |  | 12.5 | 2.031 | 2 | 0.001 | 23 | 1.75 | 4351 | 877 | 5228 | 4.96 | csd_1789959879 | 39.5748 | 49.503 | 2.1404 | 145.626 | 53.024 | 2.3765 | 242.049 | 57.384 | 2.7103 | 129.53 | 62.997 | 3.1665 | 134.593 | 70.684 | 3.8456 | 121.618 | 81.907 | 5.358 | 101.167 | 100.574 | 8.0291 | Run056.mca | 598.92 | 2026-09-20 19:16 | 10.0033 | 9.84 x 1.0166 | 45168 | 45086 | 1024 |  | 130.7371 | 256.0119 | 240 | 0.87239 | 0.036729 | 0.19245 | -0.013799 | 0.00034208 | 0.013799 | 0.00034208 | 1.6228 | 0.067307 | 72.4711 | 1.7966 | 1-sigma propagated from slope standard error | Run056_analysis.png | ok
2026-09-20 | 20:08 |  |  |  | 57 | 20:18 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.813 | 10.5 |  | 12.5 | 1.913 | 2 | -0.004 | 24 | 2.06 | 4621 | 583 | 5204 | 7.93 | csd_1789960689 | 45.9532 | 49.502 | 2.1404 | 148.72 | 53.023 | 2.3766 | 228.356 | 57.383 | 2.7103 | 123.987 | 62.996 | 3.1666 | 126.998 | 70.682 | 3.8454 | 120.256 | 81.905 | 5.358 | 101.259 | 100.572 | 8.0291 | Run057.mca | 599.1 | 2026-09-20 20:08 | 10.0033 | 9.84 x 1.0166 | 42725 | 42662 | 1024 |  | 132.8338 | 257.5844 | 239 | 0.87361 | 0.041031 | 0.20341 | -0.014726 | 0.00036384 | 0.014726 | 0.00036384 | 1.715 | 0.072234 | 67.9064 | 1.6778 | 1-sigma propagated from slope standard error | Run057_analysis.png | ok
2026-09-20 | 20:21 |  |  |  | 58 | 20:31 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.823 | 10.5 |  | 12.5 | 2.022 | 2 | -0.006 | 23 | 1.88 | 4846 | 354 | 5200 | 13.69 | csd_1789961470 | 59.3748 | 49.503 | 2.1379 | 174.638 | 53.024 | 2.3744 | 253.367 | 57.384 | 2.7086 | 129.124 | 63.071 | 3.17 | 129.018 | 70.684 | 3.8454 | 118.181 | 81.907 | 5.3599 | 97.9991 | 100.528 | 8.0278 | Run058.mca | 599.1 | 2026-09-20 20:21 | 10.0033 | 9.84 x 1.0166 | 41917 | 41856 | 1024 |  | 130.7371 | 264.3985 | 256 | 0.85826 | 0.049359 | 0.22304 | -0.014114 | 0.00035988 | 0.014114 | 0.00035988 | 1.557 | 0.072454 | 70.8534 | 1.8067 | 1-sigma propagated from slope standard error | Run058_analysis.png | ok
2026-09-20 | 20:35 |  |  |  | 59 | 20:46 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.82 | 10.5 |  | 12.5 | 2.03 | 2 | -0.006 | 23 | 2 | 4944 | 251 | 5195 | 19.7 | csd_1789962349 | 56.5039 | 49.501 | 2.1348 | 176.524 | 53.109 | 2.3768 | 257.615 | 57.462 | 2.7123 | 130.088 | 63.068 | 3.1648 | 135.893 | 70.746 | 3.8498 | 122.241 | 81.902 | 5.3498 | 98.9856 | 100.661 | 8.0325 | Run059.mca | 599.28 | 2026-09-20 20:35 | 10.0033 | 9.84 x 1.0166 | 41885 | 41834 | 1024 |  | 122.3505 | 246.577 | 238 | 0.85067 | 0.042769 | 0.20768 | -0.013707 | 0.00037382 | 0.013707 | 0.00037382 | 1.4674 | 0.070258 | 72.9579 | 1.9898 | 1-sigma propagated from slope standard error | Run059_analysis.png | ok
2026-09-20 | 20:50 |  | total power 6800 W |  | 60 | 21:01 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.881 | 10.5 |  | 12.5 | 2.097 | 2 | -0.006 | 23 | 2.38 | 4995 | 1767 | 6762 | 2.83 | csd_1789963246 | 28.1433 | 49.506 | 2.1403 | 128.154 | 53.027 | 2.3765 | 248.204 | 57.387 | 2.7103 | 142.885 | 63.001 | 3.1664 | 149.09 | 70.687 | 3.8457 | 133.387 | 81.911 | 5.358 | 107.24 | 100.579 | 8.029 | Run060.mca | 599.1 | 2026-09-20 20:50 | 10.0033 | 9.84 x 1.0166 | 61769 | 61677 | 1024 |  | 129.1647 | 263.3502 | 257 | 0.88034 | 0.036141 | 0.19085 | -0.01326 | 0.00030614 | 0.01326 | 0.00030614 | 1.8293 | 0.061251 | 75.4161 | 1.7412 | 1-sigma propagated from slope standard error | Run060_analysis.png | ok
2026-09-20 | 21:03 |  |  |  | 61 | 21:13 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.932 | 10.5 |  | 12.5 | 2.353 | 2 | -0.003 | 27 | 2.97 | 5260 | 1574 | 6834 | 3.34 | csd_1789963970 | 42.4877 | 49.503 | 2.1362 | 162.42 | 53.024 | 2.3725 | 273.956 | 57.384 | 2.7063 | 149.259 | 63.071 | 3.1671 | 153.699 | 70.749 | 3.853 | 136.581 | 81.963 | 5.3612 | 95.6099 | 100.574 | 8.0259 | Run061.mca | 599.34 | 2026-09-20 21:03 | 10.0033 | 9.84 x 1.0166 | 62215 | 62148 | 1024 |  | 128.6405 | 257.5844 | 247 | 0.89047 | 0.031274 | 0.17756 | -0.013492 | 0.0003023 | 0.013492 | 0.0003023 | 1.887 | 0.059461 | 74.1199 | 1.6608 | 1-sigma propagated from slope standard error | Run061_analysis.png | ok
2026-09-20 | 21:15 |  |  |  | 62 | 21:27 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.938 | 10.5 |  | 12.5 | 2.114 | 2 | -0.003 | 24 | 2.91 | 5461 | 1370 | 6831 | 3.99 | csd_1789964812 | 42.9071 | 49.505 | 2.138 | 154.85 | 53.026 | 2.3738 | 257.812 | 57.386 | 2.7071 | 137.334 | 63.146 | 3.1716 | 139.288 | 70.751 | 3.852 | 127.507 | 81.909 | 5.3506 | 100.944 | 100.669 | 8.0311 | Run062.mca | 599.28 | 2026-09-20 21:15 | 10.0033 | 9.84 x 1.0166 | 61337 | 61263 | 1024 |  | 124.9714 | 266.4951 | 271 | 0.90165 | 0.033479 | 0.18365 | -0.013511 | 0.00027206 | 0.013511 | 0.00027206 | 1.8552 | 0.054408 | 74.0149 | 1.4904 | 1-sigma propagated from slope standard error | Run062_analysis.png | ok
2026-09-20 | 21:28 |  |  |  | 63 | 21:42 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.914 | 10.5 |  | 12.5 | 2.014 | 2 | 0.002 | 24 | 2.85 | 5674 | 1150 | 6824 | 4.93 | csd_1789965740 | 37.5122 | 49.503 | 2.1391 | 136.816 | 53.024 | 2.3754 | 238.078 | 57.384 | 2.7092 | 133.796 | 63.071 | 3.1701 | 134.931 | 70.684 | 3.8447 | 130.269 | 81.907 | 5.3575 | 107.515 | 100.574 | 8.0291 | Run063.mca | 598.98 | 2026-09-20 21:28 | 10.0033 | 9.84 x 1.0166 | 59365 | 59267 | 1024 |  | 126.5438 | 259.1569 | 254 | 0.89896 | 0.029785 | 0.17327 | -0.013394 | 0.00028287 | 0.013394 | 0.00028287 | 1.7959 | 0.055625 | 74.6588 | 1.5767 | 1-sigma propagated from slope standard error | Run063_analysis.png | ok
2026-09-20 | 21:52 |  |  |  | 64 | 22:09 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.89 | 10.5 |  | 12.5 | 1.975 | 2 | 0.005 | 24 | 2.78 | 5699 | 1009 | 6708 | 5.65 | csd_1789967368 | 36.7725 | 49.499 | 2.1421 | 135.625 | 53.02 | 2.3784 | 230.279 | 57.38 | 2.7122 | 131.316 | 63.066 | 3.1733 | 133.364 | 70.613 | 3.8359 | 127.572 | 81.844 | 5.3538 | 105.457 | 100.567 | 8.0325 | Run064.mca | 599.22 | 2026-09-20 21:52 | 10.0033 | 9.84 x 1.0166 | 57949 | 57874 | 1024 |  | 122.8747 | 258.6327 | 260 | 0.89859 | 0.030642 | 0.17573 | -0.013245 | 0.00027702 | 0.013245 | 0.00027702 | 1.7418 | 0.053954 | 75.5007 | 1.5791 | 1-sigma propagated from slope standard error | Run064_analysis.png | ok
2026-09-20 | 22:12 |  |  |  | 65 | 22:22 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.876 | 10.5 |  | 12.5 | 1.938 | 2 | -0.005 | 24 | 2.66 | 5607 | 568 | 6175 | 9.87 | csd_1789968140 | 34.9799 | 49.502 | 2.1446 | 117.723 | 53.023 | 2.3805 | 208.483 | 57.302 | 2.7056 | 121.547 | 62.996 | 3.1694 | 126.59 | 70.682 | 3.8473 | 122.712 | 81.848 | 5.351 | 107.081 | 100.618 | 8.0322 | Run065.mca | 599.1 | 2026-09-20 22:11 | 10.0033 | 9.84 x 1.0166 | 50854 | 50781 | 1024 |  | 124.9714 | 248.1495 | 236 | 0.88154 | 0.03199 | 0.17962 | -0.013663 | 0.00032743 | 0.013663 | 0.00032743 | 1.6796 | 0.062194 | 73.1878 | 1.7539 | 1-sigma propagated from slope standard error | Run065_analysis.png | ok
2026-09-20 | 22:24 |  |  |  | 66 | 22:39 | 188.35 | 135.74 | 155.18 | 440 | 3.43 | 1.86 | 0.43 | 2.1 | 0.884 | 10.5 |  | 12.5 | 1.948 | 2 | -0.008 | 24 | 3.07 | 5595 | 283 | 5878 | 19.77 | csd_1789969154 | 51.7 | 49.503 | 2.1379 | 166.511 | 53.024 | 2.3744 | 254.311 | 57.384 | 2.7086 | 132.998 | 63.071 | 3.17 | 138.655 | 70.684 | 3.8454 | 129.943 | 81.907 | 5.3599 | 95.1504 | 100.528 | 8.0278 | Run066.mca | 599.1 | 2026-09-20 22:24 | 10.0033 | 9.84 x 1.0166 | 47273 | 47203 | 1024 |  | 122.8747 | 254.9636 | 253 | 0.86865 | 0.045404 | 0.21393 | -0.014314 | 0.00035133 | 0.014314 | 0.00035133 | 1.6893 | 0.067723 | 69.8612 | 1.7147 | 1-sigma propagated from slope standard error | Run066_analysis.png | ok